## Slide 1: Detecting things to measure stuff
Moritz Guthoff
FH Fellow Day
1st Feb 2019

## Slide 2: Journeyman years I
Positron Emission Tomography
Characterization of SiPM
Performance analysis of LYSO+SiPM detectors
Time resolution in coincidence measurements.
Internship at Philips Research
Diploma thesis at KIT Karlsruhe
Fast X-ray detection for stroke volume measurements in mouse hearts.
  Fast X-ray shutter.
  Measurement control and data acquisition.
  Picture processing and pattern recognition
  X-ray spectroscopy
  Geant4 simulations.
PhD at CERN & KIT
Radiation damage to diamond based beam monitoring
  Beam Loss Monitoring detector data analysis
  Radiation damage in diamond detectors in high rate environments.

## Slide 3: Journeyman years II
FLUKA radiation simulation
  CMS upgrade, for the phase-2 Technical Proposal
  Beam induced background and damage to CMS tracker
  Simulation toolkit for CMS opening scenarios.
Understanding and mitigating HV stability issues of the BCM1F
  Construction of replacement detector
Fellowship at CERN
Fellowship at DESY
  CMS BRIL Detector Performance Group convener
    Luminosity calibration
  BCM1F detector operations
  BCM1F for Run-3 development
  CMS phase-2 Tracker upgrade.
    Assembly and integration
BCM1F: Fast Beam Condition Monitor

## Slide 4: Diamond radiation damage
Radiation degradation more severe in operation compared to lab tests
Expected
Measured
24 GeV proton equivalent fluence
Relative efficiency [%]
TCT measurements reveal electric field deformation.
BCML for Tracker protection
TCT measurement
Radiation defects create space charge
  Polarization of the detector bulk

## Slide 5: Luminosity measurement
BIB
Lumi
afterglow
Detect it …  BCM1F detector system
Calibrate it …  Van der Meer scans
LHC parameters & measurement
VdM measurement of beam overlap
High Voltage
Ionizing particle
Diamond
Metallization
Fast front end amplifier
Analog to optical signal conversion
Optical signal output
~ 100 m
Discriminator
Realtime Histogramming Unit
Optical receiver
6.25 ns time resolution

## Slide 6: Work related to Tracker upgrade
Mostly involved in designing concepts for the assembly and integration of the CMS phase-2 Tracker endcap.
My currently favorite instrument: Metrology arm.
  Precise measurement of positions and dimensions.
  3D laser scanner
6mm 3mm 2mm
Auto trigger

## Slide 7: An actually useful measurement
~ 2.6 m
ARC frame to hold TEDD Dees:
3D fit of point cloud to CAD model
Deviation of actual shape from ideal curve.
  Maximum about 4 mm.

## Slide 8: What else do I enjoy?