## Slide 1: Report on CMOS testing
Craig Buttar
3rd June 2014
craig.buttar@glasgow.ac.uk

## Slide 2: First meeting
Discussed
  Devices
  Timeline
  Tests to be done
  Effort & expertise available
  Unfortunate clash with pixel meeting

## Slide 3: Timeline & effort
Timeline
Devices
TJ180 & H35 Available
  From now
Basic submission
  Submit to TJ180 & H35 July/August
  Devices ready for testing: Oct/Nov
  Aim for first results presented at November ATLAS week
Architectural submission
  Devices ready for testing: Jan/Feb
  First results presented at February ITK week
Final report ready May 2015
Facilities
Irradiations
  CERN PS: Start Sept
  Birmingham: from ~now
  Ljubljana
  Belgium: gammas
Testbeam
  CERN SPS in October
Effort
8 institutes signed up
  All strip groups
  Limited effort At present ~1.4FTE pledges
  Range of expertise and facilities
  Awaiting some responses
  Need to poll wider itk community via itk-general mailing list

## Slide 4: Next….
Information, send to itk-general list
  Sub-category: CMOS@ATLAS-strips-testing
  Email list: atlas-upgrade-itk-strips-CMOS-testing@cern.ch
Received information on current H35 run
  Need to design and manufacture pcb and setup readout (UXIbo?)
  30 chips will be received, order more?
  Make pcb and readout compatible with future devices
TJ180 structures bonded and under test at RAL/Oxford
  2 test structures, plan to look at n-fluence (devices good to 1.5MGy)
  Asking CERN for more
Define test procedures
  Small group to produce a document of tests to be made and equipment required to guide testing groups
  CMB to draw up outline and ask small group to add detail
Next meeting 19th June (TBC subject to availability)
  Interleave with pixel module meeting