## Slide 1: Report on CMOS testing
Craig Buttar
17th June 2014
craig.buttar@glasgow.ac.uk

## Slide 2: Organisation
Information, send to itk-general list
  Sub-category: CMOS@ATLAS-strips-testing
  Email list: atlas-upgrade-itk-strips-CMOS-testing@cern.ch
  Subscribe to: atlas-upgrade-itk-CMOS-testing (different from above)
Indico page for previous meeting setup and sent round itk-general list
  https://indico.desy.de/conferenceDisplay.py? confId=10479
Next meeting TBD, Thursday slot taken by pixel design meeting

## Slide 3: Document
Document in preparation
  Final sensor document for reference
  Outstanding issues
    Effect of metal/diode ratio
    Design of PCB
      Voltages to be applied?
      Reset? HV bias, amplifier bias: pad layout
    Thickness of samples
    3x3 pixel die for probe station measurements
    Readout of 5x5 pixel array
      ALIBava may not be suitable  use scopes