## Slide 1: Testing
Passive pixels
  C-V measurements on probe station, ~50-100nF
  Measure signal using external fast amplifier?
Large area passive pixel array
  Measure signals using external fast amplifier
Active pixel array
  Measure on scope response to sources
  Pulseshape and pulse height
  Cannot measure x-talk
  Experience with Alibava system is not good
Design of PCB