## Slide 1: WP-08 Cold Vacuum Installation
presented by
Lutz Lilje
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)
Change the partner logos or add others in the last row.

## Slide 2: Installation of Components: Beam and Coupler Vacuum
  BLA installation
    Clean room works very nicely
    Pump down times too long
  Installation sequence
    Being worked on
  Special components installation
    Beam pipe for
      feed and end caps are available
        Bellows, rupture disks and warm gate valve available now
        Need installation in L1
        Will test on L3 first
      EC2 beampipe damaged (transport?)
        Needs additional leak check
      String connection boxes just in time
  Electronics part of warm vacuum WP
    Preliminary installation for L1
    Final rack in BC
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 3: Installation of Components: Isolation Vacuum
  Support with pumps and leak test for cryo installation when needed
  Pump carts available
    Need network eventually
  Final piping modules to pump stations will be decided during L3 installation
  L1 leaks
    Beampipe end cap
    Module connection
  Access to module connection is needed until leak test is done
    Situation in L1 is not acceptable
      This delays work significantly.