## Slide 1: WP-08 Cold Vacuum
presented by
Lutz Lilje
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)
Change the partner logos or add others in the last row.

## Slide 2: Status of Components: Beam and Coupler Vacuum
  Series components being delivered
    Cavity Bellows show good quality, few rejects
  QC issues with several components
    Some are resolved
      Coupler Pump Line: rust stains
      Coupler Bellows: incomplete cleaning of one batch of 100 bellows
      Gate valve: insufficient cleaning
    Not resolved
      BLA (see talk by Jacek)
  Special components
    Beam pipe for
      feed and end caps are available
        EC2 is damaged slightly (transport?), needs leak test
        Bellows, rupture disks and warm gate valve available now
        Need installation in L1 when RF test is done
        Will test installation on L3 first
      string connection boxes are just in time
        Will be handed over week 19ff.
  Electronics part of warm vacuum WP
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 3: Series Components
Delivered to DESY to CEA Rejects
CPL type 1 85 48 2
CPL type 2 85 48 0
TSP pot 85 48 1
Coupler Bellows 488 384 3
Cavity Bellows 763 405 9
Note: ~100 coupler bellows have been rejected and send back to BINP. Not included here.

## Slide 4: Status of Components: Isolation Vacuum
  Support with pumps and leak test for cryo installation when needed
  Pump carts available
    Need network eventually
  Final piping will be decided during L3 installation
  L1 leaks
    Beampipe end cap
    Module connection

## Slide 5: Other Issues
Several problems with components e.g.
  Gauges sensitive to Helium exposure
  RGAs need continuous hands-on maintenance
This eats up significant resources
  Will need more manpower when production rate should be increased
    Even then infrastructure might be limiting