## Slide 1: LLRF device inventory management
for the European XFEL
Julien Branlard, for the LLRF team
LLRF device inventory and management
DESY, 14.10.2015

## Slide 2: PROBLEM STATEMENT / TALK OVERVIEW
Low level radio frequency system (LLRF) for the European XFEL
  complex subsystem essential to the accelerator operation
  comprises over 2000 main electronic boards and modules (> 10k components)
  all of them undergoing production, testing, installation and maintenance life cycles
Asset management is required
  labelling and book-keeping of these components is essential
  during the installation, commissioning and operation phases of the accelerator
Current implementation and outlook
  Mix of tools
  Backed-up hard drive
  DESY's Kabel DokumentationsSystem (KDS)
  XFEL’s Electronic Document Management System (EDMS)

## Slide 3: XFEL and DESY
European X-ray Free Electron Laser (XFEL)
  Pulsed superconducting 17,5 GeV accelerator + variable gap undulator lines
  Delivering ultra short X-ray flashes (27,000 / sec)
  Construction 2009 – 2016
  User facility 2017
  http://www.xfel.eu/
Deutsches Elektronen Sychrotron (DESY)
  In kind contribution from DESY
  Low-level radio frequency system (LLRF)
  Controls the RF field to accelerate the electron beam
  Design, production, installation, commissioning and operation
  http://www.desy.de/
see talks from
M. Bieler
S. Haid
B. List

## Slide 4: The European X-ray Free-Electron Laser (XFEL)
808 superconducting 1.3 GHz TESLA RF cavities
101 cryomodules (8 cavities)
25 RF stations (4 cryomodules)
1 LLRF system / RF station (i.e. per klystron)
KLYSTRON
CM1
CM2
CM3
CM4
LLRF master
LLRF slave
BEAM

## Slide 5: The XFEL LLRF System

## Slide 6: R&D versus MASS PRODUCTION
R&D life cycle
  Documentation in N: drive (backed-up),
  Living files in SVN (version tracking): HW, FW, SW source files
  Failure reports, meeting minutes, tracked via RedMine
  Ad Hoc solutions: Google Docs, Dropbox, USB stick, Personal Computer etc…
Mass production life cycle
  Hard drive solution (unsatisfactory)
  KDS
  EDMS
  Database (AMTF, XFEL)
R&D
Production
QA&QC
Installation
Operation
Decommission
Mass Production

## Slide 7: The XFEL LLRF System
MTCA
DWC
VM
PM
TC
uLOG
ADC
CPIM
LOGM
DCM
MTCA
PZ16M
PSM
CRATE
RACK

## Slide 8: The XFEL LLRF System: ASSET OVERVIEW
Incoming inspection
  Delivery
  Shipping documentation
  Device labelling
  Entry in database (KDS)
  Random verification of company tests
Acquisition documentation (invoice, manufacturers test)
Incoming documentation (failure / test reports)
Virtual device in database
New device in storage

## Slide 9: The XFEL LLRF System: ASSET OVERVIEW
Incoming inspection
Device test
  For selected device, dedicated tests in test stand
  Test report is generated and stored
  Device is marked as tested / approved (sticker)
Test documentation
  Templates
  Instruction for test stand use (bugs, calibration…)
  Test reports (passed, failed, non-conformity report)
  Patch description
Tested devices
  Inventory / storage
  History

## Slide 10: The XFEL LLRF System: ASSET OVERVIEW
Incoming inspection
Device test
Crate installation
  Selection of components from storage
  Upload configuration in database (KDS)
  Installation of firmware, servers
  Basic functionality checks
  Fill-in crate assembly checklist report
MTCA
Installation and commissioning documentation
  Template
  Reports
  Checklists, …
Virtual equipped crate
Stored equipped crate

## Slide 11: The XFEL LLRF System: ASSET OVERVIEW
Incoming inspection
Device test
Crate installation
Rack installation
  Module installation
  Inner-rack cabling
  Integral tests
  Storage, ready for tunnel installation
CPIM
LOGM
DCM
MTCA
PZ16M
PSM
Installation and commissioning documentation
  Template
  Reports
  Checklists, …
Virtual equipped rack
Stored equipped rack
rack occupation plans
cabling instructions

## Slide 12: The XFEL LLRF System: ASSET OVERVIEW
Incoming inspection
Device test
Crate installation
Rack installation
Tunnel installation
  Cabinet transport
  RF cabling (outer rack)
  Connections to mains, water and Ethernet, fibers
  Commissioning checklist
Installation and commissioning documentation
  Template
  Reports
  Checklists, …
Virtual LLRF system
Installed LLRF system

## Slide 13: Current Solution and Outlook
Mixed use of tools
  KDS
    is required for cabling plans
    is the database for LLRF device tracking
    offers nice GUI interface
  EDMS
    is the XFEL official documentation system
    is supported and maintained by DESY
    has automatic import tools
exploit existing links to get best of both worlds
Avoid data duplication
Minimize manual effort
external 19” module
equipped
MTCA crate
Rack occupation
graphical representation

## Slide 14: Current Solution and Outlook
Benno List’s talk
This talk
1:1
“What DESY offers”
“What we need”
How to:
upload
browse the data
use
Fault tracking
  Currently: from machine operation + internal book keeping
  Hope is to get more reliable data + statistics from EDMS
  Lessons learnt from GIS (radiation prone environment)
Stock management
  Useful for risk assessment
  Use EDMS to help us better manage our device inventory?

## Slide 15: Current Solution and Outlook
Finding the data: “if it’s easy, people will use it”
  Multiple entry points (ease of navigation)
  Fast database queries
  Keywords / smart indexed searches
  Web access (hidden security)
  Training
Maintenance: “asset information is only useful if it is up-to-date”
  validity of data
  should be easy
Installation  Operation: “moving from a snapshot to a living database”
  Include operation parameters (calibration files for ex.)
  Include system health statistics? (temp., fan speed, CPU usage, etc…)
  …
  relies on QA/QC administrator relies on self discipline from users how can we improve what we do ? how can tools help us ?
  as little work overhead as possible automatic tools to update information

## Slide 16: QUESTIONS ?
THANK YOU VERY MUCH FOR YOUR ATTENTION!