## Slide 1: DCM1300 Production Status
Jan Piekarski – WUT
Frank Ludwig – DESY
Uros Mavric – DESY
Tomasz Lezniak - WUT
Christian Schmidt – DESY
Lukasz Butkowski - DESY
Daniel Kühn – DESY
Günter Möller - DESY
for the LLRF Team
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)
Change the partner logos or add others in the last row.

## Slide 2: Drift Calibration Module (DCM)
Reference injection
FLASH Operation (DCMv2)
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 3: DCMv2: 2U 19“ Module
Front- , Rear, Inner- View
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 4: DCMv2: FLASH ACC23 Operation
Arrival time at 4DBC3 with DCM on/off
Temperature jump reset
~ 800 fs
Start of a temperature jump
[Courtesy of C.Schmidt]
Temperature Stability :
ok, except a single event
10K range, -4K cooling, +6K heating
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 5: DCMv2: FLASH Injector Hutch Operation
Phase calibrated with DCM sealed module
[Courtesy of J. Piekarski]
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 6: DCMv2: Production Status / Open Issues
DCM PCB functional tests
  DCM set to -0dB and cavity state after powering up, no TMCB – OK
  DCM set to -0dB and cavity state after powering up, with TMCB – TBD
  Attenuator control – OK
  Switch control – OK
  Amplitude detector – OK
  Switch control for ADC offset drift of amplitude correction – OK
  I2C Sensors readout – OK
  Add humidity sensor on the PCB or in the PCB chamber – TBD, 1 week, (TL)
DCM temperature controller functional tests
  Remote enable/disable – OK
  DAC setting, limited range [3000, 5000] – TBD, 3 days, (TL)
  Temperature range 10K, -4K cooling,+6K heating for [21deg,31deg], 0.4A other Peltier – TBD, 2 days, tests
  Lock-status readout – TBD, 2 weeks, (TO)
  Peltier current readout – TBD, see above
  In-loop sensor readout – TBD, see above
FRED3 functional tests
  TMCB2 hotplug – TBD, 1 week, BS
  19” module hotplug – TBD, see above
  Digital polution from IU-sensors removed ? – TBD, see above
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 7: DCMv2: Production Status / Open Issues
DCM RF performance @1.3GHz tests
  RF connectors matching <-20dB – OK
  REF input matching -10dB (SMT splitters limited) – OK
  FBM outputs matching <-18dB – OK
  Crosstalks<-85dB – OK
  RF channel initial losses:-20dB – OK
  REF input->FBM output transmission: -24dB – OK
DCM Long-term performance tests
  Temperature reduction factor >50 for dT< 3deg, <50m deg – OK
  Internal amplitude detector stability <0.01% – OK
  Phase stability humidity (unsealed DCM) 0.008 deg / % RH – OK
  Phase stability humidity ( sealed DCM) in the injector hutch <+-0.01deg, no correlation – OK
  Phase stability temperature coeffcient in test-rack – TBD, 1 week (GM)
  Humidity sensor inside / outside reduction factor in the test-rack – TBD, 1 week (GM)
  Module sealing test – TBD, 2 days (DK)
DCM Improvements for production to be decided
  Common MSK FP, RP design – OK
  Simplify mechanics and sealing CAD – OK
  Simplify cable-management, break-out board, cable metal guiding – TBD, 3 week (RM)
  Choice of TC, TEC1091, FMC (TC), FMC (TMCB) based Controller – to be decided
  Sealing the complete inner PCB simplifies the production, major change – to be decided
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 8: DCMv2: Production Status / Open Issues
DCM Update of documentation – TBD, 2 weeks
  Update assembly & production documents
  Perform CE certification
  Production check documents
DCM Provide production test software & hardare – TBD, ? weeks
  Power consumption
  Attenuator control
  Switch control
  Voltage / Current consumption / Used rear fuse value
  Powering up initial state attenuator and switch state
  ADRS readout check
  Temperature controller function
  Fan controller function
  Module sealing test
  Test documentation, check lists and setup test systems – TBD, 1 week (FL, DK)
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 9: DCMv2: Simplify the production
Mechanical and sealing improvements
FRED2 -> FRED3
Sealing line for silicon
REF Amplitude detector closed
N-type „Verdrehschutz“
„Sacklöcher“ to minimize the # of feed-through holes
Open issues (DK,FL):
- Front SMA sealing
- Front SMA sealing
- FBM fixtures
- Sealing test connection
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 10: Changes for production : Cable management
  Break-out board for all 1:1 ribbon-cables, extension to TC
  Cable metal guiding near fan battery
  More homogeneous air distribution ?
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 11: TC, TEC1091, FMC(TC) or FMC (TMCB2)
(No maintenance)
TC (existing solution):
  Needs one PCB bug-fix revision
3xTEC1091 :
  Commercial, total 35,-k€ more costs
  Excellent diagnostic and operation range
  More assembly work
  “nice to have”
(Full maintenance)
FMC based :
  Define, design & test pluggable Interface, +2 weeks
  Intermediate step (TC on FMC), +4 weeks
  Final stage, Peltier driver and NTCs on FMC
  (TMCB2 controller, original plan, 3 months R&D)
Depending on schedule TC or FMC(TC) is the option -> TBD
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 12: DCMv2: Simplify the sealing and costs
Long-long stable operation needs a sealing the complete PCB : Future iteration
Temperature regulated area
Humidity enclosure
Isolation barrier
Peltier drop
Uncompensated PCB
approx. 24fs/10cm/K
requires +2 months redesign
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 13: DCM Summary
Summary and Decisions :
  DCM operated so far reliable, function and performance
  A humidity sensor has to add to PCB or the PCB chamber
  FRED3, FRED FAN is fully tested
  Is the operating range at [21deg,32deg] with [-4K,+6K] sufficient
  TC needs better diagnostic, + 2 weeks
  A cable break-out board as an extension to TC is needed
  It has to be decided if FMC (TC) is an option now
  A complete PCB sealed DCM is desired for add. 3 months
YES NO
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 14: Thanks for your attention!
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 15: Backup Slides
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 16: DCMv2: Simplify the production
Overview
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 17: DCMv2: Temperature Stability
Lession learned from laboratory and rack tests:
  In-loop sensors and regulation are fine (TEC1091 <5mKpp, TC <3mKpp)
  PCB temperature stability is influenced by PCB bridge
  Placing in-loop sensors onto the bottom metal compared to top is better
  To compensate a remaining temp gradient in y-direction, 3 regulations are needed
  Fan ventilation have no influence on the out-of loop temperature stability, but heat-sink temperature
bottom metal
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 18: DCMv2: Temperature Stability
Simplified thermal modeling for an infinite struture
(perfect regulation)
: In-loop sensor
: Out-of-loop sensor
: Ambient temperature
: Peltier drive
: Top layer half
: Bottom layer half
: Screws
: Isolation
: Heat-sink coupling
: Detection error top side
=(+) ||
Set-point feed-forward
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 19: DCM Temperature Stability in the Testrack
TEC1091: Rack temp jumps
  dT1=2.25K -> <0.075K, factor 30
  dT2=5.50K -> <0.175K, factor 31
TC: Rack temp jump
  dT1=2.1K -> <0.040K, factor 52, also see TL
  dT2=5.25K -> <0.075K, factor 70
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 20: DCMv2: Temperature Operation Range
Worst case temperture operating range
Regulation break-down out of [-4K,8K]:
Peltier full current limited to
400mA for the existing Peltier,
TC Board limit 2.4A/3=800mA
-> Different choice of Peltier if needed
-> Regulation status missing
-> Peltier current missing
External
38 deg
Set-Point
38 deg
External
29 deg
Set-Point
21 deg
External
21 deg
Set-Point
38 deg
External
21 deg
Set-Point
16 deg
Worst case operating range:
10K range,
-4K cooling, +6K heating
for ambient temperatures of
[21 deg, 32 deg]
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View