## Slide 1: 2015 test beam 12/10-19/10

## Slide 2: setup
4 planes with thin sensor scotched on tungsten
FEB : pre amplifier shaper charge, 192-cell analog pipeline and an analog pulse shape processor per channel. 128 channels (2 per plane). HDMI cable to the SRS
DAQ : SRS system, designed by RD51 collaboration.
Silicon telescope : 6 planes with MIMOSA chip
Synchronization using TLU and fake SRS busy signal (generated by dual timer)
Online and “light” offline

## Slide 4
xy table
Grounding cables
beam
Silicon HV
Telescope DAQ

## Slide 5
APV 0 (master)
APV 1 (slave)
1
2
3
62
63
64
61
65
66
67
68
128
127
126
129
130
131
256
255
254
196
195
194
193
189
190
191
192
132
133
134
135
136
DAQ NUMBERING

## Slide 7
LIGHT OFFLINE : browser

## Slide 8
Cut in time : Qmax with t ~ sample #12
rejected
Cut : Qmax>200
rejected
Time (sample#)
Time (sample#)
Time (sample#)
Time (sample#)
ADC count
ADC count
ADC count
ADC count

## Slide 9
Channel #
Time (sample number)
Run 221

## Slide 10
1st plane
2nd plane
3rd plane
4th plane
Channel 247 (700)
Channel 247(1100),248(400)
Channel 247(1500),248(1000)
Channel 9 (250)
Alignment ? Channel 10 ?
Shower development

## Slide 11
RUN 221

## Slide 12: Xy scan

## Slide 13: To summarize
More than 200 files, a bit less than 30Gb of data from the sensors
200 silicon telescope data files
Scan in (x,y), long statistic, HV scan, measurement with 4, 6 and 8 tungsten
Everything is web accessible :
  Data (and pictures) : http://alzt.tau.ac.il/~itamar/TB15-data/
  Logbook : same as last year but 2015

## Slide 15: To do
Calibration of the system with muons (MIP)
Calibration of the APVs (pulser)
Analyze the data :
  Synchronization between the telescope and the sensors
  Charge, saturation
  Cross talk
  Shower study
  …

## Slide 16: thanks

## Slide 17
APV

## Slide 20
Shower development
1st plane
2nd plane
3rd plane
4th plane

## Slide 21
APV 0 (master)
APV 1 (slave)
1
2
3
62
63
64
61
65
66
67
68
128
127
126
129
130
131
256
255
254
196
195
194
193
189
190
191
192
132
133
134
135
136
DAQ NUMBERING