## Slide 1: Developing of an automatically regulated Micro-Channel-Plate-Assembly-System for a Residual Gas X-ray Beam Position Monitor
Intermediate report
Huan Wang
Developing of an automatically regulated Micro-Channel-Plate-Assembly-System for a Residual Gas X-ray Beam Position Monitor
DESY, 7th August 2015

## Slide 2
1.Residual Gas X-ray Beam
Position Monitor(RGXBPM)
2.Micro-Channel-Plate
3.Power supply - MPod

## Slide 3: A brief Flow Chart of the program
start
Check current /0.1s
Control based on two limits:
Too low current - unable to detect
Too high current - damage to MCP & screen
≤ maximum
limit ?
YES
continue
NO
Change voltage

## Slide 4
Print screen of labview

## Slide 5: Next to do
Debugging
Data logging