## Slide 1: Beta test of CHESS1 chip
Vitaliy Fadeyev, Zach Galloway , Herve Grabas
Alexander Grillo , Zhijun Liang , Abe Seiden
Jennifer Volk, Forest Martinez-Mckinney
University of California, Santa Cruz

## Slide 2: Beta test setup
CHESS1 chip Mount on daughter board from Jaya John
Sr90 beta source is used
Trigger rate ~0.1 Hz
CHESS chip Biased at 110V

## Slide 3: Reminder of active array in CHESS1 chip
Active array APA08 is used
Channel 7,8 is connected for readout
Self trigger
  Trigger on pixel 8

## Slide 4: Pulse shape in charge sharing case
df
Ch1
Ch2
Time (s)
Output(V)

## Slide 5: Pulse shape in usual case without charge sharing
Ch1
Ch2
Time (s)
Output(V)

## Slide 6: Correlation in signal amplitude between two pixel
Ch1 amplitude (V)
Ch2 amplitude (V)
Charge sharing events

## Slide 7: Summary
observe significant signal from active pixel in beta source test
Next step :
  Quantify the landau peak position of MIP in beta test
  Quantify the fraction of charge sharing between pixels
  Reduce the readout noise by optimizing the built-in amplifier configuration.