## Slide 1
TCT measurements with CHESS-1 chip
I. Mandić et al.,
Jožef Stefan Institute, Ljubljana, Slovenia

## Slide 2
PPA09 | 45mm | 100mm | 30% | 13.0%
PPA # | Pixel width | Pixel length | Diode Area Fraction | Metal opening ratio
Substrate
Periphery
Signal
100 um
45 um
Top -TCT with passive pixel array on Chess 1
measured with chip irradiated to 2e15 with neutrons
Chess1

## Slide 3
signal to HV and readout via Bias-T
perimeter to HV
(and readout)
to ground
HV
scope
GND
substrate
Beam direction E-TCT
Beam direction
Beam direction
Top- TCT
TOP TCT
Beam Edge-TCT
connections
narrow (FWHM ~ 7 μm) laser beam directions
Chess1

## Slide 4
Metal
No metal
is this region part of the structure?
not seen on the other side
100 μm
45 μm
Same plot in lego version
Top TCT
all pixels (signal and periphery)
connected to readout, bias 120 V
plots show charge
(integral of the induced current pulse in 25 ns)
vs. laser beam position
Substrate
Periphery
Signal
Beam direction
100 um
45 um
x
y

## Slide 5
Periphery + signal to HV and readout
Only signal to readout:
(all pixels to HV):
Substrate
Periphery
Signal
Beam direction
100 um
45 um
no cross talk, no charge
from the low edge
Top TCT
all pixel read out
only signal pixel read out
100 μm
45 μm

## Slide 6
100 μm
45 μm
Edge TCT:
Top TCT
Depth (μm)
Edge and Top TCT
charge vs. beam location
E-TCT laser beam
from E-TCT it can be seen
there is only small drop of collected charge
in the region between pixles
gaps in Top TCT are because of metal

## Slide 7
Summary
TCT measurement with narrow laser beam directed to the top of PPA9 structure
(irradiated with 2e15 neutrons, bias 120 V)
can clearly see the 3x3 pixel structure
large part of the structure covered by metal
question to chip designers: is (smaller) charge seen on the lower edge of the array
generated inside of the PPA9 array or outside (and if this could be a problem) ?