## Slide 1: the built-in amplifier performance in HV-CMOS CHESS1
Vitaliy Fadeyev, Zach Galloway , Herve Grabas
Alexander Grillo , Zhijun Liang , Abe Seiden
Jennifer Volk, Forest Martinez-Mckinney
University of California, Santa Cruz

## Slide 2: CHESS1 bonded for testing
CHESS1 chip Mount on daughter board
Thanks to Jaya John and Oxford group to design daughter board for CHESS1 chip

## Slide 3: CHESS1 amplifier
IFB
3.3
3.3
InSF
In
Casc
Load
Out
Bias | Description | Config (V)
VNBias | Bias for the NWELL | 0.4
Casc | Cascode voltage | 2.6
VPLoad | Pmos Load voltage | 2.1
iN | Amplifier bias current | 1.0
iNSF | Source Follower Bias | 0.49
iFB | Feedback current | 2.664
A low noise built-in amplifier into the CHESS1 chip to improve the signal to noise ratio.

## Slide 4: Isolated amplifier test Setup
Pulser
CHESS1
Buffer
Scope
9ns falltime
built-in amplifier

## Slide 5: Pulse shape
Before irradiation
After 3Mrad gamma irradiation

## Slide 6: Response curve
df

## Slide 7: Rise time
df

## Slide 8: Summary
The gain increased after radiation
Rise time and deadtime(pulse width) increased after radiation