## Slide 1: High Level Controls for the XFEL
Raimund Kammering
for the HLC team

## Slide 2: Outline
What's High Level Controls The need for a High Level View
High Level Control Concepts Architecture, Development and Testing
Summary and Status Be ready at the right point of time

## Slide 3: The need for a High Level View
Machine Layout Coordination
MPY
MCS
MSK
HLC
Notes: one could extend this list
Actively support/participate in commissioning
Enable smooth operation
Software infrastructures
User interfaces
Tools (physics, controls, etc.)

## Slide 4: The need for a High Level View
Classic controls
+
Server Code

0 | 0.205 mm
1 | 0.198 mm
2 | 0.194 mm
3 | 0.207 mm
4 | 0.210 mm
… | …


µTCA crate
typically DOOCS
C++ based server
physically
meaningful data
display/work with
data

## Slide 5: The need for a High Level View
0 | 0.215 mm
1 | 0.199 mm
2 | 0.198 mm
3 | 0.201 mm
4 | 0.209 mm
… | …
0 | 0.205 mm
1 | 0.198 mm
2 | 0.194 mm
3 | 0.207 mm
4 | 0.210 mm
… | …
+
Server Code

x 200
+
Server Code



…

O(kB/s)
O(GB/s)
0 | 0.195 mm
1 | 0.196 mm
2 | 0.184 mm
3 | 0.187 mm
4 | 0.201 mm
… | …
0 | 0.205 mm
1 | 0.198 mm
2 | 0.194 mm
3 | 0.207 mm
4 | 0.210 mm
… | …

## Slide 6: The need for a High Level View
Have automation and analysis software ready from the beginning … and not only the front-ends interfaced
High amount of data produced by the machine requires data reduction!
  … BPMs: 4 byte * 2700 bunches * 500 BPMs * 2 planes * 10 Hz  >100 MB/s
We need to think more in terms of physics entities … makes little sense to view 1 of 500 BPMs  think in terms of orbit as object
Provide an common interface to work with shoot synchronized data … to cope with the complexity of this multi-beam-line facility

## Slide 7: HLC Architecture

## Slide 8: HLC Architecture

## Slide 9: HLC Architecture
Orbit Control
Optic
Console Programs
High Level Servers
Energy Profile
Rf control
Magnet Server
Undulator Control
Sequencer
Optics Measurement and matching
Energy Management and Bunch compression
Orbit display, bumps
RF
Machine State Control (Sequencing, Bunch Patterns)
SASE Control
BPM
BLM
Toroid
Wire Scanners
SASE Intensity
Orbit
rf
BLM
Toroid
DAQ
SASE
Device servers which produce data for each bunch in pulse train
Device servers for ‘slow’ components
Magnet Controller
Screens
Others
Middle layer servers for ‘slow’ components
Others
Middle layer servers for ‘fast’ components
Peak Current Control
Beam Profile Monitors

## Slide 10: HLC Development and Testing
FLASH is the little brother of XFEL
  Control System: DOOCS/TINE
  Front-end Hardware: VME, µTCA
  Timing System
  Machine Protection System
  Multi-Beam-Line Operation
  …
 FLASH is the test bed for software to be used at XFEL
  but …
XFEL is 10 times as big!

## Slide 11: HLC Development and Testing
Orbit Control
Optic
Console Programs
High Level Servers
Energy Profile
Rf control
Magnet Server
Undulator Control
Sequencer
Optics Measurement and matching
Energy Management and Bunch compression
Orbit display, bumps
RF
Machine State Control (Sequencing, Bunch Patterns)
SASE Control
BPM
BLM
Toroid
Wire Scanners
SASE Intensity
Orbit
rf
BLM
Toroid
DAQ
SASE
Device servers which produce data for each bunch in pulse train
Device servers for ‘slow’ components
Magnet Controller
Screens
Others
Middle layer servers for ‘slow’ components
Others
Middle layer servers for ‘fast’ components
Peak Current Control
Beam Profile Monitors
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
status ~ early 2014
✔

## Slide 12: HLC Development and Testing
Console Programs
High Level Servers
Optics Measurement and matching
Energy Management and Bunch compression
Orbit display, bumps
RF
Machine State Control (Sequencing, Bunch Patterns)
SASE Control
BPM
BLM
Toroid
Wire Scanners
SASE Intensity
Orbit
rf
BLM
Toroid
DAQ
SASE
Device servers which produce data for each bunch in pulse train
Device servers for ‘slow’ components
Magnet Controller
Screens
Others
Middle layer servers for ‘slow’ components
Middle layer servers for ‘fast’ components
Orbit Control
Optic
Energy Profile
Rf control
Sequencer
Peak Current Control
Magnet Server
Undulator Control
Others
Beam Profile Monitors

## Slide 13: HLC Development and Testing
Magnet Server
Orbit display, bumps
BPM
Orbit
DAQ
Optic
1. calculate orbit for given optic
5. write new currents
2. write orbit to BPM server
3. send orbit data
to DAQ/orbit server
4. Display orbit
+
modify by bump program
6. new currents to
optic server

## Slide 14: HLC Development and Testing

## Slide 15: HLC Development and Testing

## Slide 16: Summary and Status
Concepts have proven to be working
  Overall architecture
  Data throughput
  Synchronization
  …
With FLASH and the Virtual XFEL we have realistic test environments  many parts could be prepare in advance
Also GUI (representation layer) could be worked on and tested
  Nonetheless are display(s) and GUIs in general a frequent source for discussions (jddd vs. Rich-Clients, Python, …)
Some interface(s) – photon diagnostics – still need work …!

## Slide 17: Summary and Status
Much effort has been put to set up a solid infrastructure (interfaces, libraries, standards, …)
Prioritized needed HLC software to match schedule
Ready for injector commissioning (monitor, control and stabilize charge, peak current, energy and trajectory)

## Slide 18: End
We are prepared and waiting for beam …!
Thank you for your attention!