## Slide 1: Offline calibration processing
S. Hauf
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)

## Slide 2: For offline (re)-calibration
Reprocessing occurs…
  Initially
  If data has been removed from online caches
  If newer calibration data sets are available and are to be used or a different calibration is to be done
Usually, a full calibration is to be done
Goal: as fast as reasonably possible but latency is not an issue.

## Slide 3: Possible components of correction pipelines – and importance of throughput
pixel
row/column
image
granularity
Offset
sub.
CM
correct.
CTI correct.
Split
events
Gain correct.
Droop
correct.
40%
40%
7%
7%
7%
This is sufficient for 10Hz operation using all correction steps

## Slide 4: Summary
Full offline calibration will take approx. as long as the measurement time was
Calibrated data where appropriate is stored and can be accessed alongside auxiliary data  calibration processing not a frequently recurring task as users can work off the cached data sets
A calibration report will be provided for each calibration processing run