## Slide 1: The XFEL calibration pipeline An example of Karabo-p2p distributed computing mixed with thread-level parallelism in Python and GPU computing
S. Hauf
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)

## Slide 2: Calibration and Correction Parameters of XFEL Detectors

## Slide 3: Possible components of correction pipelines
pixel
row/column
image
granularity
Offset
sub.
CM
correct.
CTI correct.
Split
events
Gain correct.
Droop
correct.

## Slide 4: Possible components of correction pipelines
pixel
row/column
image
granularity
Offset
sub.
CM
correct.
CTI correct.
Split
events
Gain correct.
Droop
correct.
LPD offset map

## Slide 5: Possible components of correction pipelines
pixel
row/column
image
granularity
Offset
sub.
CM
correct.
CTI correct.
Split
events
Gain correct.
Droop
correct.
LPD Common Mode

## Slide 6: Possible components of correction pipelines
pixel
row/column
image
granularity
Offset
sub.
CM
correct.
CTI correct.
Split
events
Gain correct.
Droop
correct.
PnCCD Charge Transfer Inefficiency

## Slide 7: Possible components of correction pipelines
pixel
row/column
image
granularity
Offset
sub.
CM
correct.
CTI correct.
Split
events
Gain correct.
Droop
correct.
Uncorrected and corrected Fe-55 spectrum taken with FastCCD

## Slide 8: Possible components of correction pipelines
pixel
row/column
image
granularity
Offset
sub.
CM
correct.
CTI correct.
Split
events
Gain correct.
Droop
correct.
Mean Cluster Size depending on Photon Intensity and Pixel Size
(Events in a 9x9 pixel field)

## Slide 9: Python-based Calibration and Data Analysis Suite - Motivation
Data analysis commencing for different detectors (LPD, AGIPD) has shown that interactive analysis quickly becomes problematic on large datasets (>10GB) and that common functionality is needed  similar requirements to pipelined calibration/correction
Moved to iPython/Numpy with adaptions for streaming data to allow interactive analysis within iPython notebook and faster development
PyCUDA readily exposes GPU acceleration  allows testing if real-time corrections are feasible on GPU
Common framework prevents code duplication and eases maintenance
gdfm.me

## Slide 10: Python-based Calibration and Data Analysis Suite - Specifics
iPython library which transparently handles concurrency using ipcluster (local) either per image (x, y, zn), or per image region (xn, yn, z)
Functionality implemented as calculator objects which work on streaming data

## Slide 11: Python-based Calibration and Data Analysis Suite - Specifics
Common plotting using “smart” objects which can interpret the output of the calculator objects.

## Slide 12: Python-based Calibration and Data Analysis Suite - Specifics
Seamlessly integrates into Karabo (the Cal-DB test pipeline runs this way)
Karabo device with sub-concurrency handled by python:
Karabo p2p
Karabo p2p

## Slide 13: Python-based Calibration and Data Analysis Suite – Usage of Ipython.Parallel
Configure a parallel client to use a load-balanced view
Use provided parallel map function or sequential fallback

## Slide 14: Python-based Calibration and Data Analysis Suite – Usage of Ipython.Parallel
Configure a parallel client to use a load-balanced view
Use provided parallel map function or sequential fallback
Algorithm | CPU | GPU
Offset map calculation | X | 
Noise map calculation | X | 
Gain map calculation | X | 
Streaming histogramming | X | X
Statistics calculation | X | X
Offset Correction | X | X
Gain Correction | X | X
Common Mode Correction | X | X
Pattern Detection | X | X
Use in algorithms

## Slide 15: Python-based Calibration and Data Analysis Suite – GPU usage
Using CUDA via pyCUDA
Klöckner, Andreas, et al. "PyCUDA and PyOpenCL: A scripting-based approach to GPU run time code generation." Parallel Computing 38.3 (2012): 157-174.
Allows for instance to run-time optimize GPU-kernels, e.g. the sorting networks used for common-mode computation

## Slide 16: Python-based Calibration and Data Analysis Suite – GPU usage
Using CUDA via pyCUDA
Klöckner, Andreas, et al. "PyCUDA and PyOpenCL: A scripting-based approach to GPU run time code generation." Parallel Computing 38.3 (2012): 157-174.
Allows for instance to run-time optimize GPU-kernels, e.g. the sorting networks used for common-mode computation
….

## Slide 17: Python-based Calibration and Data Analysis Suite – GPU usage
Performance-optimization for correction and calibration routines  near real-time performance seams possible
Corresponds to one 10G line
GPU-based for “near-realtime” corrections:
Offset, common-mode, split-event, statistics)
(scaled from Nvidia K2200 to K40, requires approx. 1 GPU per 10G line)

## Slide 18: Where Karabo comes into play
Chose Karabo p2p for distributed computing
  Allows for native integration of Karabo-data formats
  Allows for easy integration into Karabo-GUI
  Direct access to control-system where needed, e.g. detector operating conditions
Karabo p2p

## Slide 19: Getting data out of Karabo

## Slide 20: Getting data out of Karabo
Define callbacks to use when data is available

## Slide 21: Getting data out of Karabo
Define callbacks to use when data is available
Retrieve data by path

## Slide 22: Getting data out of Karabo
Define callbacks to use when data is available
Retrieve data by path
Check for availability of optional data

## Slide 23: Getting data out of Karabo
Define callbacks to use when data is available
Retrieve data by path
Check for availability of optional data
In all cases: reassignment to local variables which map to non-karabo code (here PyDetLib) and its data types (here Python + numpy)

## Slide 24: Getting data back to Karabo
The numpy array should convert to a specific data format, that for images/arrays  mandatory fields in hierarchical structure presented earlier
If we had optional data set it, as it was modified
Modifying the original input data structure  fields I didn’t touch are preserved
Finally, write back to a p2p output I can address by ID

## Slide 25: Additional benefit for using Karabo p2p – Can connect the GUI to any output to monitor
Karabo-online views of scattering in a ferrous solution imaged by LPD
Online view of APS direct beam on LPD

## Slide 26: Additional benefit for using Karabo p2p – Can connect the GUI to any output to monitor
Karabo-online views of scattering in a ferrous solution imaged by LPD
Online view of APS direct beam on LPD
Connected to raw data online output on PC layer
Connected to the outputs of the individual correction stages

## Slide 27: Where Karabo comes into play
Link: Show documentation of CalibrationBase
Link: Show documentation of PyDetLib