## Slide 1: Kollisionen BSECT.2103.T2
BSECT.2103.T2 um -150mm in 8.5.0 verschoben (12/2015
  Kollision mit Stuetze Vakuum behoben
  Kollision mit Stuetze Wasser pruefen
Stuetze (Wasser)
Stuetze (Vakuum)
Notes: Before you start editing the slides of your talk change to the Master Slide view: Menu button “View”, Master, Slide Master:
Edit the following 2 items in the 1st slide: 1) 1st row in the violet header: Delete the existent text and write the title of your talk into this text field 2) The 2 rows in the footer area: Delete the text and write the information regarding your talk (same as on the Title Slide) into this text field.
If you want to use more partner logos position them left beside the DESY logo in the footer area Close Master View

## Slide 2: Kollisionen BSECT.2102.T1
BSECT.2102.T1 um +300mm in 8.5.0 verschoben (12/2015)
  Kollision mit Stuetze Vakuum behoben
  Kollision mit Kabeltrasse pruefen
Kabeltrasse
Stuetze (Vakuum)