## Slide 1: Characterisation of AMS Chess 1 chip with fluorescence X-rays
Dima Maneuski
Richard Bates, Andrew Blue, Craig Buttar, Kestutis Kanisauskas, Conor O’Reilly

## Slide 2: General remarks
Acquisition settings
X-ray tube 40 kVp, 100 uA
Output 1 Mohm, AC
Trigger level: 5 mV
Trigger window: 200 ns
Improved algorithm for rise time extraction
Good waveform example
Noise extraction region up to magenta line
Rise time extraction region
Peak position
3 sigma

## Slide 3: What was tested?
DAC performance
Bias voltages -40, -70 [V]
Nb target (15 keV)
APA6, OUTPUT 5 (middle pixel)
Peak position, rise time

## Slide 4: What DACs do we have?
Adjusts gain
 | Typical value | Can change?
VPFB | 2.65V to 2.8V | Yes adjust gain
VNSF | 0.5V to 0.8V | Yes adjust to your output load
VCasc | 2.6V | Not needed
VPload | 2.1V | Not needed
VN | 1V | Not needed
VNBias | 250mV | Not needed
Adjusts SF current

## Slide 5: VPFB

## Slide 6: VNSF

## Slide 7: VPFB variation : spectrum -40V
DACS_04
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2500
DACS_03
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2600
DACS_00
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700
DACS_01
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2800
DACS_02
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2900
Waveform ripples

## Slide 8: VPFB variation : rise time -40V
DACS_04
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2500
DACS_03
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2600
DACS_00
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700
DACS_01
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2800
DACS_02
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2900

## Slide 9: VNSF variation : spectrum -40V
DACS_09
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 600
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700
DACS_08
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 700
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700
DACS_05
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 800
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700
DACS_06
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 900
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700
DACS_07
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 1000
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700

## Slide 10: VNSF variation : rise time -40V
DACS_09
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 600
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700
DACS_08
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 700
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700
DACS_05
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 800
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700
DACS_06
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 900
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700
DACS_07
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 1000
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700

## Slide 11: VPFB variation : spectrum -70V
DACS_03
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2600
DACS_01
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2800

## Slide 12: VPFB variation : rise time -70V
DACS_03
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2600
DACS_01
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 750
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2800

## Slide 13: VNSF variation : spectrum -70V
DACS_07
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 1000
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700
DACS_09
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 600
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700

## Slide 14: VNSF variation : rise time -70V
DACS_07
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 1000
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700
DACS_09
DAC 1 (VPLoad) = 2100
DAC 2 (Casc) = 2600
DAC 3 (iNSF) = 600
DAC 4 (iN) =1000
DAC 5 (iBias) = 150
DAC 6 (iFB) = 2700

## Slide 15: Conclusions
Conclusions
Baseline shift in DC mode
iPFB no effect
iNSF 500 -> 1.63V, 1000 -> 1.29V
IFB variation
Reducing IFB moves peak left and creates "ripples" in the waveform. Rise time is also reduces from 75 to 70 ns.
iNSF variation
Rise time is not changed. Reducing iNSF moves peak a bit left.
With voltage peak moves left but looks “nicer”, also detection efficiency drops.