## Slide 1: LSDMA All Hands Meeting October 2016
DLCL Energy
Karl-Uwe Stucky, Wilfried Jakob, Fabian Rigoll, Artem Schumilin, Wolfgang Süß, Hartmut Schmeck

## Slide 2: Energy Lab Control, Monitoring and Visualization Center
SCADA
Wind Power (planned)
Solar Power Storage Facility
Storage (HP Gas)
Thermal Storage (DLR)
Consumer (Buildings)
Process Communication Hardware - Scada Infrastructure
SEnSSiCC Services for Data Acquisition, Preparation, Preprocessing, and Staging
Off-the-shelf
Control Center Infrastructure
External Big Data Storage and Archiving
LSDF (SCC)
Control, Monitoring
and Visualization Center
Visualization (Simulation, Analysis)
Control Room Monitors (Visualization)
Raw Data
Weather, …
Profiles
Grid Config.
Simulation and Analysis Service Infrastructure
Smart Grid Lab
Software Simulator
Hardware-in-the-Loop Simulator
Editor Grid Models
(External) Tools
Simulation Lab
Editor Grid Models
Editor Grid Models
Electrolysis Facility (FZ Jülich)
Notes: Repeating from last year.

## Slide 3: IT Infrastructure Energy Lab 2.0 – Energy System 2050

## Slide 4: Relevant Time Series Data
EDR
  Data Quality
  Error correction in aggregated CSV data
Voltage and current time series from Janitza measurement devices
File-based measurement data from Janitza (rate: 20 kHz) and Beckhoff devices
Databases
  OpenTSDB
  InfluxDB
  MongoDB
  (Cassandra)
Data Formats
  JSON
  XML
  CSV

## Slide 5: Important Services in a Microservice-oriented Architecture
Notes: EDR – Data Quality, error correction in aggregated CSV data
Voltage and current time series from Beckhoff and Janitza Measurement devices
File-based measurement data from Janitza (rate: 20 kHz)
Databases: OpenTSDB, InfluxDB, MongoDB, Cassandra
Data Formats: JSON, XML

## Slide 6: Semantic Model Based Data Storage
*) http://ka.stadtwiki.net/Datei:Umspannwerk_Daxlanden_20070930-123936.hk.jpg
Attribution Noncommercial ShareAlike 2.0
CIM
Extracting a CIM profile  Enterprise Archtiect
Code Generation, e.g. Java classes  Enterprise Architect
Instantiating objects
Evaluation: CIM as a common schema for exchanging power grid data
Data exchange formats:
  JSON
  XML
  RDF (Triple Store)
  OWL (Web Ontology Language)
Energy data (power grid) mapped to CIM objects
Notes: CIM OBDA

## Slide 7: Semantic Data Model for Buildings – Industry Foundation Classes
Current version IFC4
Based on EXPRESS
Instances as STEP Physical File (SPF - STEP Part 21) or XML (STEP Part 28)
653 entities
Predefined Property sets
Property sets can be added arbitrarily
IfcElectricalDomain contains entities and property sets to describe the electrical system in buildings

## Slide 8: Generic Data Services
Project Thesis
Frederic Sinn
Notes: Realizations marked

## Slide 9: Future Work - Cooperations
Cooperation with Energy Lab 2.0
Cooperation with the Helmholtz Energy Programme SCI
  Storage and Cross-linked Infrastructures
  AIFB is leading data management activities in Topic 6
  RegEnKibo: Master Thesis together with IRS
  ITEP: Power Hardware-in-the-Loop
  Fabian is about to finish his PHD thesis
  Helmholtz initiative Energy System 2050
    Leading Subtopic 5.1
      Data formats, data management, and data quality
      Topic 5: Toolbox with Databases
      Partners: RTW Aachen ( FZJ (JARA) GFZ IPP
Notes: To be renewed