## Slide 1
First Draco PW measurements – Preparation of radiobiological experiments
K. Zeil, L. Obst, M. Rehwald, H.-P. Schlenvoigt, F. Brack, F. Kroll, J. Metzkes, I. Prencipe, T. Kluge, S. Kraft, U. Schramm
E. Beyreuther, L. Karsch, J. Pawelke
P. Poole, G. Cochran, D. Schumacher

## Slide 2
Advanced ion accelerator for medical application
Normal tissue
tumor
Normalized dose
Depth in water [cm]
Photons
Protons
Protons (175-190 MeV)
Ion therapy center HIT
≈ µm
Proton energies of 250 MeV required
dose rate of Gy/min necessary
stability and precision
laser development
optimization of laser plasma interaction

## Slide 3
Feasibility of ultra-short pulse laser-driven proton & ion sources for applications
In vitro cell irradiation with laser-accelerated protons
 relative dose uncertainty of below 10 %
criver.com
In vivo cell irradiation
Compact ion accelerator for radiation therapy

## Slide 4
TNSA – Target normal sheath acceleration
Expansion of electron-proton plasmas into vacuum
ps – time scale
E ~ TV/m
Electron transport and forming of Debye sheath
Absorption and
electron acceleration
fs - time scale
> 20°
Notes: Kern des Vortrages ist das Wechselspiel zwischen quasi-statischer Beschleunigung (prethermal, kurzer Puls) und Expansion (RMT, Targerphysik)
Nach eindander aufbauen, aber nicht zu kompliziert
Topics of thesis
bevor ich die physikalischen Prozesse beleuchte, möchte ich ein paar worte zur anwendung sagen, damit gleichzeitig Experimentaufbau eingeführt wird
was bringt Zellbestrahlung: Nachweis eines funktionierenden Proton dose delivery systems enabling dose control and measurement with sufficient presicision das kann man schon bei geringeren Energien validieren

## Slide 5
Proton energy scaling
[1]
Development of PW class lasers – complementary technology
[2,3,4]
[1] Kluge et al. PRL 107, 205003 (2011), [2] Ogura et al., OPT. LETT. , 37 (2012),
[3] Jong Kim et al., PRL 111, 165003 (2013), [4] Wagner et al., PRL 116, 205002 (2016)

## Slide 6
  Draco Ti:Sa Laser System (September 2016)
150 TW (4J Pulse mit 30fs)
650 TW demonstriert (20J Pulse mit 30fs)
30 J amplified
Focus 3-4 µm FWHM
(F/2.5 90deg), ~35fs
 I ≈ 6·1021 W/cm2
Draco PW Upgrade – First shots

## Slide 7
*
Draco PW Upgrade – First shots
Demonstration of 600 TW operation on target
ca. 40 MeV p from
1 µm Ti-foil

## Slide 8
25 MeV
40 MeV
depth
dose
Homogeneous depth dose profile (5x5x5 mm3)
precise dose application of Gy/min
stabile operation for several weeks
proton energy of 25 – 40 MeV
Animal irradiation - requirements
HF-Solenoid

## Slide 9
Animal irradiation – pulsed beam line
Proton focus single solenoid
Bmax = 20 T (Imax = 24 kA)
collimation of 70 MeV
few years operation (hundreds of pulses)
18,6 MeV
solenoid current [kA]
time[ms]
Chart: TOF spectrum
proton energy /MeV
number /a.u.
18,6 MeV

## Slide 10
Animal irradiation – pulsed beam line
Proton focus single solenoid
Bmax = 20 T (Imax = 24 kA)
collimation of 70 MeV
few years operation (hundreds of pulses)
solenoid current [kA]
time[ms]
18,6 MeV
18,6 MeV
double
solenoid

## Slide 11
Off-Axis Parabola
Solenoid 1
Target
Solenoid 1
Solenoid 2
Solenoid 2
Irradiation site
Animal irradiation – setup in target chamber

## Slide 12
Animal irradiation – conclusion
5 mm penetration depth 
sufficient dose per shot 
homogenization 
BUT: reproducibility 
Depth dose
RCF-Stack
scatter foil
Notes: noch scatterer foils in Grafik

## Slide 13
Animal irradiation – conclusion
homogenization 
BUT: reproducibility 
RCF-Stack
day-to-day change , or during one day can be significant
Notes: noch scatterer foils in Grafik

## Slide 14
rear side  proton plasma expansion
reduced (different) field gradient for both species
front side  bulk expansion
increased interaction length at critical density - enhanced absorption
x (µm)
n (nc)
critical density
electrons
protons
carbon
titanium
-7 -6 -5 -4 -3 -2 -1 0 1 2 3
100
10
1
0.1
0.01
0.001
Temporal contrast and preplasma
1021 W/cm2 @ oblique incidence
Large
1 µm Ti
30 nm CH - Layer
30 nm CH - Layer
Notes: 14
sublte changes in particular at the ramp have strong influence, becomes obviously more severe for PW

## Slide 15
OAPPM = F/100
substrate 8 mm behind focus
  IPM ~ 1016 W/cm2 (p – pol.)
AR coating RAR = 0.001
TPM = 80 %
Single Plasma Mirror Setup
1010
Draco 3.3 J / 30 fs
Draco 2.6 J / 25 fs
Temporal contrast before PM
Temporal contrast after PM
Laser Temporal Contrast Improvement
Notes: nice for contrast, but characterization of the pulse afterwards much harder

## Slide 16
shots with plasma mirror
shots at intrinsic laser contrast
reference shots on 2µm Ti at intrinsic laser contrast
Proton cut-off energies in target normal direction using 100 TW Draco
Thickness scan using foil targets
25 MeV @ 2.5 J laser energy
 scaling to PW??

## Slide 17
6500nm
15° half angle
24nm
10mm
shots with plasma mirror
shots at intrinsic laser contrast
15nm
4,5 MeV
430nm
10° half angle
1270nm
1500nm
190nm
Proton beam profiles in target normal direction using 100 TW Draco
Thickness scan using foil targets

## Slide 18
Conclusion
demonstration of 600 TW operation on target
*
30 J amplified
25 MeV
40 MeV
depth
dose
18,6 MeV
pulsed beam line for in-vivo irradiation
6500nm
15° half angle
24nm
10mm
shots with plasma mirror
shots at intrinsic laser contrast
15nm
4,5 MeV
430nm
10° half angle
1270nm
1500nm
190nm
enhanced beam quality at high contrast  scaling to PW

## Slide 19
Thank you for your attention
multiple filamentation of freely
propagating 100 TW beam in air

## Slide 21
Transversal probe
Longitudinal probe
Cryogenic Hydrogen Jet
temporal resolution of picoseconds
spatial resolution of micrometers
Focus spot
5 µm
Ti:Sapphir Draco
Laser-proton acceleration using hydrogen jets
Pure proton near critical density target (30 ) Cooled with liquid He to 16 - 20 K
high rep rate, debris free
cylindrical and planar geometries (~ µm)
Study dynamics with optical probing at different laser contrast
Facilitate comparison with PIC
Notes: First: In Addition a optical probe setup was used due to the fact, that the Hydrogen jet is transparent
Cruidal point: characterisation of plasma with ps and um resolution possible.
Als eine der Hauptdiagnostiken (über die ich jetzt vorallem reden möchte) wurde longitudinaler und transversaler Probe verwendet.
D.h. der H2 Jet konnte in Laserrichtung und senkrecht dazu abgebildet werden.
Dabei frequenzverdoppleder Probe, aus einem kleinen Teil des DRACO lasers generiert und eine phasen gekoppelter ps-Laser verwendet.
Damit war eine ps und um auflösung möglich.

## Slide 22
Bubble-like modulations of proton beam profile
TNSA protons are deflected by filamented rearside field structure
̴µm scale
length
Laser
Intrinsic contrast
~ 4cm
~ 4 cm
(1)
plasma mirror contrast with tailored prepulse (50 ps)
(3)
more dose, and potentially more directed beam
plasma mirror contrast
(2)
6.7 MeV
8.7 MeV
10.3 MeV
smooth beam profile
Laser contrast and beam profiles