## Slide 1: Current Status of Vibration Monitoring in XHEXP
XHEXP Section Coordination Meeting
8:30 Friday 12th August
XHQ-E1.173
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)

## Slide 2: New Report has been released
Report on measurements from Jan 2015 to June 2016
It is in alfresco, XHEXP1 site (link in minutes)
Summary: Comparison of quiet time measurements on Sundays did not show any change
  The main vertical (z-direction) excitations were at 2,5 Hz and 10 Hz
  The main horizontal (x- and y-direction) excitation was slightly below 2,5 Hz and a smaller exitation is at 10 Hz as well.
  These are so called “cultural noise“.
No new additional influence from technical infrastructure and the completed office building can be ovserved.

## Slide 6: Evaluation according to strucural dynamics criteria (as in the report)
From a structural dynamics point of view the experiment hall still is well qualified for Nano-E criteria

## Slide 7: now: looking at displacements …
from the talk given by
G. Wellenreuther

## Slide 8: A Sunday inside HED
40
20
5

## Slide 9: A Sunday at the pillar at SPB
40
20
5

## Slide 10: … a work day …
40
20
5

## Slide 11: … a current work day (including the Italy quake)
40
20
5

## Slide 12: Sunday 21st Aug.

## Slide 13: Sunday 21st Aug.

## Slide 14: Data storage on alfresco …