## Slide 1: Of DAQs, XGMs and data flows
or how to access accelerator data

## Slide 2: The DAQ System
at XFEL will mainly serve as data synchronization instance
there will be (initially) 2 instances (diag, llrf)
many essential processes will attach here
  e.g. collecting trajectory data, slow FB loops, …
XGM data can be accessed here
so how does it look like?

## Slide 3: The DAQ System
Courtesy: T. Wilksen (DESY)

## Slide 4: The DAQ System

## Slide 5: How to get XGM Data?
2012

## Slide 6: How to get XGM Data?
A full running implementation of all XGM relevant infrastructure can be found at FLASH2
There are two XGMs installed and available in DOOCS under the FLASH.FEL facility
to get electron intensity via DOOCS one could use:
  FLASH.FEL/SASE_STATISTICS/FLASH2/DET1.TD
same will be set up for XFEL:
Context | Server/Device | Beam-line | Detector
XFEL.FEL | SASE_STATISTICS | SA1 | DET1.TD
FLASH.FEL | SASE_STATISTICS | FLASH2 | DET1.TD

## Slide 7: How to get XGM Data?
XGM
Bahrenfeld
Schenefeld
RPC
RPC
RPC
multicast
multicast
xfeldaq1
X
karabo

## Slide 8: How to get XGM Data?
DOOCS-NAME DOOCS-SERVER PHYSICAL-DEVICES
-----------------------------------------------------------------------
XGM.CURRENT keithely_server K2700 + 2x K6514
XGM.GAS_SUPPLY gasmix_server Gas-Supply-SPS
XGM.GAS_DOSING rvc300_server Pfeiffer RVC300
XGM.PRESSURE srg2cepress_server Spining-Rotor-Gauge
XGM.TEMP adam_server adam pt100
XGM.POSMON gmdposmon_server >keithley
XGM.PHOTONFLUX xgmdflux_server >all other
SPDEVDMA spdevicedma_server ADQ412
XGM.PREPROCESSING xgmdpreproc_server >spdevdma
XGM.BPM xgmd_server >preproc
XGM.INTENSITY xgmd_server >preproc
Courtesy: S. Grunewald (DESY)