## Slide 1: Progress on Imagers in SASE1
Andreas Koch
WP74
27.1.2017

## Slide 2: Status installation of Imagers
Local tests, Monday 30/1
Local tests, done – Beckhoff loop wk5
Local tests, done – Beckhoff loop wk5
Local tests, done – Beckhoff loop wk5
Local tests, done – Beckhoff loop wk5
Local tests, done – Beckhoff loop wk5
Next week: Start with Beckhoff loop tests.

## Slide 3: Status installation of Imagers
Delay:
  Timing trigger cable installation. Start next week.
  Short of resources. Can we get help?
Rework:
  EPS switches, to be changed to NO (normally open).