## Slide 1: Progress on Imagers in SASE1
Andreas Koch
WP74
3.2.2017

## Slide 2: Status installation of Imagers
Next week:
  Start with Karabo tests.
  Start with cabling of timing signal.

## Slide 3: Status installation of Imagers
Planning:
  Progress as planed.
Rework:
  EPS switches, to be changed to NO (normally open).
  Swap PIN configuration of motor movement.
  SR imager: Installation of compensating air pressure springs.