## Slide 1: Progress and next steps 27 April 2017 this version is the minutes of the meeting
J. J. John on behalf of the team

## Slide 2
Agenda
Discuss progress and steps for next week:
  ABCN’ emulator
  firmware - SACI
  readout software
  CHESS-2-to-FMC adaptor board
  CHESS-2 digital hardware
  CHESS-2 mini-module
  ABCStar/HCCStar news
  TWiki page for CHESS and its test hardware: https://twiki.cern.ch/twiki/bin/view/Atlas/CHESSStripTestChip

## Slide 3
ABCN’ firmware status
  Atlys firmware / CHESS-2 analogue test status:
  Bojan and Igor at Ljubljana have further test results with the analogue outputs, albeit a small response to high laser power.
CHESS-2-to-FMC adaptor board
.

## Slide 4
CHESS-2 digital hardware
  The layout of version 2 of the digital daughterboards is progressing, to make wire-bonding easier. Su Dong will distribute layout files for review in the next week or so.
  Oxford has wire-bonded the bottom array and test structures only on a digital daughterboard, to see if this alleviates the HV leakage current issues.
ABCStar/HCCStar news
  No news this week.