## Slide 1: Laser-Wire as a Non-invasive Transverse Beam Emittance Diagnostics for Electrons and H- particles: similarities and differences
Pavel Karataev
John Adams Institute for Accelerator Science
at Royal Holloway, University of London
On Behalf of Laser-Wire Collaboration

## Slide 2: Laser-Wire People
BESSY: T. Kamps
DESY : E. Elsen, H. C. Lewin, F. Poirier, S. Schreiber, K. Wittenburg, K. Balewski
JAI@Oxford: B. Foster, N. Delerue (LAL now), L. Corner, M. Newman (CERN), A. Reichold, R. Walczak
JAI@RHUL: S. Boogert, G. Boorman, A. Bosco, P. Karataev, K.Kruchinin (Czech Republic), S. Gibson, L. Nevay, I. Agapov (DESY)
KEK: A. Aryshev, H. Hayano, K. Kubo, N. Terunuma, J. Urakawa
SLAC: A. Brachmann, J. Frisch, M. Woodley, M.Ross
CERN: T. Lefevre, R. Jones, T. Hoffmann, F. Roncarolo, U Raich, E.Bravin
Imperial College: J.K.Pozimski

## Slide 3: Two basic principles
Electron beam Laser-Wire
  Inverse Compton Scattering Process
H- beam laser Wire
  Photo-ionization (neutralization) process

## Slide 4: e-beam laser wire for linear colliders
Colliders e-/e+ high precision machines.
Two main current designs - International Linear
Collider (ILC) and Compact Linear Collider (CLIC).
Extreme focusing/charge/luminosity requirements.
Need high quality non-invasive measurements of beam size, emittance, position, charge, duration, etc.

## Slide 5: Laser-Wire Principle

## Slide 6: KEK:ATF2 – Accelerator Test Facility
Charge | 1 – 8 x 109 e
Energy | 1.28 GeV
Beam size (LWIP) | 100 x 1 mm
Bunch | 30 ps (3.12Hz, single bunch)
Laser (532nm, Nd:YAG) | 100 mJ, 77 ps

## Slide 7: KEK:ATF2 – Accelerator Test Facility
Detector
Laser beam transport
Laserwire IP

## Slide 8: LW interaction region

## Slide 9: Laser – e-beam collision search

## Slide 10: f2 lens design
f2 lens at 50 mm focal distance
Aberration free at 532 nm
Geometrical shadow avoided

## Slide 11: Laser-Wire Layout
2zR ~ 30 – 40 mm.
Horizontal direction scan
Vertical direction
scan

## Slide 12: Horizontal and Vertical beam profiles
Horizontal
Vertical

## Slide 13: Emittance measurement
Physical beam emittance was 82.56 ± 3.04 pm rad

## Slide 14: Performance characteristics
Dynamic range: Defined by the signal to noise ratio and can be adjusted by the laser power
Resolution - determined by the laser waist (Linear Collider requires 1m, 3.4m convoluted size achieved at ATF)
Accuracy
  Aberration of the lens system (need an aberration free lens)
  Laser waist and waist position should be stabilized
  Bunch-by-bunch instability
Non-Destructive method
  Major candidate for linear collider

## Slide 15: H- Laser-wire for proton machines
Large Hadron Collider injection complex
  High Luminosity upgrade
Proton beam driven neutron sources
  High intensity beam is needed for generating high flux neutrons or neutrino

## Slide 16: Accelerator Complex at CERN

## Slide 17: Direct Phase-space measurement principle

## Slide 18: H- Laser-wire principle
Courtesy to T. Hoffman

## Slide 19: Photo-detachment cross-section
J.T. Broad and W.P. Reinhardt, One- and two-electron photoejection from H-: A multichannel
j-matrix calculation. Physical Review A, 14(6):2159–2173, 1976.

## Slide 20: Laser delivery system
Courtesy to T. Hoffman

## Slide 21: H0 Diamond Strip detector
Courtesy to T. Hoffman

## Slide 22: Diamond detector signal

## Slide 23: Phase-space measurements
Slit and grid technique
Laser-wire technique

## Slide 24: Summary
H- particles
  Moderate power
  Beam delivery with weak focusing
  Could be far-away
  Special fast position sensitive detector
Electrons
  High power
  Extreme focusing with aberration free optics
  Close to the beam
  Pointing stability
  Precise positioning system
  Strict safety requirements