## Slide 1: Progress on Imager installations in SASE 1/3
Andreas Koch
WP74
17.3.2017

## Slide 2: Status installation of Imagers SASE1, 3
Last week:
  XTD2: Karabo tests on IMGPII45.
    Motor control is done, ok.
    Camera control: more testing necessary, features to be checked.
  XTD10: 6 (of 11) imagers installed.
Next week:
  XTD2, cont. Karabo tests XTD2.
  XTD10, RFI Exit Slit imager.