## Tabelle1
Function Group	Function	Benefit	Commissioning	Initial OPS	Operation	Future Upgrades	Cost

1.0 RF Measurements
	1.1 Vector_Sum_Measurement	F+++	1	1	1	1	4
	1.2 Incident_and_Reflected_Wave_Meas.	F++	1	1	1	1	4
	1.3 QL_and_Detuning_Meas.	O+++	1	1	1	1	4
	1.4 Beam_Phase and beam current	D++	1	1	1	1	4
	1.5 Loop Gain and Loop Phase Measurement	A+++	1	1	1	1	4
	1.6 Gamma_Dose_Rate	A++	1	1	1	1	4
	1.7 Neutron_Flux	L++	1	1	1	1	4
2.0 RF System Calibration
	2.1 Vector_Vector_Sum_Cal._Single_Bunch	L+++	1	1	1	1	4
	2.2 Vector_Sum_Cal._Moderate_Current	F++	1	1	1	1	4
	2.3 Vector_Sum_Cal._High_Current	F++	1	1	1	1	4
	2.4 Vector_Inc._Ref._wave_Calibration	D++	1	1	1	1	4
	2.5 Vector_Gradient_Phase_Calibration	O++	1	1	1	1	4
	2.6 Neutron_Dosimetry_Calibration	L++	1	1	1	1	4
	2.7 Gamma_Dosimetry_Calibration	A++	1	1	1	1	4
3.0 RF Field Control
	3.1 Set_Point generator	O+++	1	1	1	1	4
	3.2 Simple_Feedforward	O++	1	1	1	1	4
	3.3 Adaptive/predictive_Feedforward	F++	1	1	1	1	4
	3.4 Redundant_Feedforward	A++	1	1	1	1	4
	3.5 Universal_Controller	O+++	1	1	1	1	4
	3.6 Optimal_Controller	F++	1	1	1	1	4
4.0 Cavity Resonance Control
	4.1 Slow_Cav._Freq._Control	A++	1	1	1	1	4
	4.2 Lorentz_Force_Compensation piezo tuner	F++	1	1	1	1	4
	4.3 Bypass_and_Tune_Cavity (wide range tuning)	O++	1	1	1	1	4
5.0 Subsystem Control
	5.1 Klystron_Linearization	F++	1	1	1	1	4
	5.2 Timing_Control	O+++	1	1	1	1	4
	5.3 Klystron_Power_Overhead_Management	O++	1	1	1	1	4
	5.4 Adjust_Phase_of_Incident_Wave	A++	1	1	1	1	4
	5.5 Adjust_Loaded_Q	F++	1	1	1	1	4
6.0 Subsystem Characterization
	6.1 Low Level RF System	D++	1	1	1	1	4
	6.2 Klystron_Characterization	O++	1	1	1	1	4
	6.3 Down converter_Characterization	F+++	1	1	1	1	4
	6.4 Cavity_Operational_Limits	A++	1	1	1	1	4
	6.5 System_Identification	F++	1	1	1	1	4
	6.6. Incident_wave_phase_shifter	O++	1	1	1	1	4
	6.7 Input power coupler coupling	O++	1	1	1	1	4
7.0 Exception Detection
	7.1 Cavity_Quench	A++	1	1	1	1	4
	7.2 SEU_Hangup_or_corrupt_data	A++	1	1	1	1	4
	7.3 Signal_Integrity_Violation	D++	1	1	1	1	4
	7.4 Cavity_Operational_Limit_Exceeded	A++	1	1	1	1	4
	7.5 Klystron_Power_Overhead_Low	F++	1	1	1	1	4
8.0 Exception Handling
	8.1 Recover_Cavity_Quench	A++	1	1	1	1	4
	8.2 Recover_SEU_Hangup	A++	1	1	1	1	4
	8.3 Adjust klystron overhead	F++	1	1	1	1	4
9.0 LLRF Diagnostic
	9.1 Configuration_Status	D++	1	1	1	1	4
	9.2 Calibration_Status	D++	1	1	1	1	4
	9.3 Field_Regulation_Performance_Monitor	D++	1	1	1	1	4
	9.4 Event Generation	A++	1	1	1	1	4
	9.5 Alarm generation	A++	1	1	1	1	4
	9.6 Warning generation	A+	1	1	1	1	4
	9.7 Fault statistics	A++	1	1	1	1	4
10.0 Linac RF Global Control
	10.1 Momentum_Management	A++	1	1	1	1	4
	10.2 Beam_Energy_Feedback	F++	1	1	1	1	4
	10.3 Beam_Arrival_Feedback	F++	1	1	1	1	4
	10.4 Bunch Compression feedback	F++	1	1	1	1	4
11.0 General_Functionality
	11.1 Hot-swap capability	A++	1	1	1	1	4
	11.2 Framework for automation of procedures must be implemented	A++	1	1	1	1	4
	11.3 Event pushing capability (needed for automation)	A++	1	1	1	1	4
	11.4 IPMI functionality	A++	1	1	1	1	4

	Total Person Month		58	58	58	58	232
	Total Person Years		5	5	5	5	20