## Slide 1
Vulcan IC Verification
Christian Roth
Forschungszentrum Jülich GmbH
Central Institute for Engineering, Electronics and Analytics
IC Verification
18-19 September 2017

## Slide 2
Verification Setup
4GHz Integer PLL Measurement Results
Digital Differential Interface
ADC Measurement Results
PMT RF Sensitivity Spectrum Measurements

## Slide 3
Measurement Setup
Power Board
Vulcan Verification Board
Power Board Controller

## Slide 4
Measurement Setup

## Slide 5: RF Spectrum of internal PLL
Phase Noise Measurement, Jitter 1.4ps

## Slide 6
PLL Tuning/Locking Range vs. Temperature
1GHz target Frequency
1GHz target Frequency
Notes: 5,6,7 Backup 1Ghz highlight

## Slide 7
500MHz
Digital Differntial Signal Level vs. Frequency
The LVDS Signal Amplitude is
decreasing above 500MHz

## Slide 8
ADC Characteristic, RMS Noise, Min/Max

## Slide 9
ADC DNL Measurement
Notes: 16/17 backup

## Slide 10
ADC INL Measurement

## Slide 11
ADC SNR/ENOB Measurement
Carrier Frequency = 119kHz
Fullscale = 64
Usedscacle = 50
One 6 Bit ADC was measured
SNRD 31.23dB
ENOB = 5.25

## Slide 12
ADC PMT-shaped Pulse Measurement 1-4 PE

## Slide 13
PMT RF Senitivity Measurement Setup
transmitting
antenna
PMT

## Slide 14
PMT RF Senitivity Spectrum
PMT Orientation
Antenna
Polarization:
Horizontal
Vertical
0°
90°
45°

## Slide 15
ZEA-2 – System-house for the Science