## Slide 1: XUV Seeding and Slice-Resolved Diagnostic at sFLASH
Christoph Lechner for the sFLASH team
4th Annual MT Meeting, 13.06.2018

## Slide 2: Introduction: Free-Electron Laser (FEL) & Seeding
Controlling and manipulating the FEL light pulses
=> ultra-short photon pulses with GW-peak power
Seeded operation
FEL controlled by external, coherent light pulse  from laser
SASE operation
Stochastic start-up
Noisy spectrum
Seeding transforms the FEL into a fully coherent light source
simulation
simulation
2
1
3

## Slide 3: sFLASH – The Seeding Test Facility at FLASH
sFLASH as R&D experiment integrated into the FLASH user facility
315 m
5 MeV
150 MeV
1250 MeV
Bunch Compressors
450 MeV
Accelerating Structures
RF Stations
Lasers
RF Gun
Fixed Gap Undulators
sFLASH
Photon Diagnostics
THz
FLASH1
FLASH2
FLASHForward
Albert Einstein
Kai Siegbahn
Variable Gap
FEL Experiments
High-gain harmonic generation (HGHG) seeding at sFLASH
Characterization of the seeded FEL pulses
Towards tailored seeded FEL pulses
OUTLINE

## Slide 4: High-Gain Harmonic Generation (HGHG)
modulator
chicane
radiator
Proposed by Yu in 1991:
L.H. Yu, Phys. Rev. A 44, 5178 (1991)
Bunching factor at harmonic n

## Slide 5: THz Streaking of Photon Pulses
Newly applied at DESY for seeded pulses
Time-of-flight electron detector
Combining measurements at both slopes gives access to
chirp
duration
of photon pulses
A. Azima, et al., New J. Phys. 20, 013010 (2018)
THz
source
seed
source

## Slide 6: Measurement of FEL Pulse Duration
Using transverse-deflecting structure (TDS):
Extract duration of seeded FEL pulses
With THz streaking:
Access optical phase of FEL pulses
Chirp of seeded FEL pulses (only determined by THz streaking)
A. Azima, et al., New J. Phys. 20, 013010 (2018)

## Slide 7: Next Step: Manipulation of UV Seed Laser Pulses
First step towards tailored seeded FEL pulses
Short
wavelengths
(blue)
Longer wavelengths
(red)
L
Dispersive medium

## Slide 8: Next Step: Manipulation of UV Seed Laser Pulses
First step towards tailored seeded FEL pulses
Inserting material into seed laser beamline changes GDD
group-delay dispersion GDDseed [fs²]
GENESIS
simulation
aseed<0
aseed>0
optimized R56
small R56
First study being prepared: put fused-silica elements into seed laser beamline
At 267nm, 1mm of UV fused silica adds GDD of 195fs^2.
We have already operated the FEL with 12mm fused silica.

## Slide 9: Summary
Seeding providing new insights and control for sFLASH FEL light pulses
sFLASH developed important new analysis methods (with HGHG seeding)
World-wide first TDS measurements of seeded FEL process, providing insights into FEL light properties
World-wide first THz streaking of seeded photon pulses: allows determining optical phase of FEL pulses, a critical information for frontier photon science
Next steps:
HGHG with manipulated seed laser pulses
Demonstration of EEHG-seeded FEL gain at sFLASH
Study of seeding design for FLASH2020+ upgrade plans

## Slide 10: Thank you for your attention
Sven Ackermann*, Armin Azima, Jörn Bödewadt*, Hauke Biss, Martin Dohlus, Nagitha Ekanayake*, Vanessa Grattoni, Kirsten Hacker*, Mehdi Kazemi, Leslie L. Lazzarino, Christoph Lechner, Bastian Manschwetus, Theophilos Maltezopoulos*, Velizar Miltchev, Tim Plath*, Andreas Przystawik, Yannik Ristau, Sergey Usenko, Mathias Vogt, Igor Zagorodnov, Johann Zemella, Ralph Assmann, Markus Drescher, Bart Faatz, Ingmar Hartl, Wolfgang Hillert, Shaukat Khan, Tim Laarmann, Jörg Rossbach, Wilfried Wurth
* former team member

## Slide 11: Echo-Enabled Harmonic Generation

## Slide 12: Echo-Enabled Harmonic Generation (EEHG)
SLAC invention:
G. Stupakov, Phys. Rev. Lett. 102, 074801 (2009)
Echo-enabled harmonic generation (EEHG):
Seeding adds less energy spread to electron beam
Electron beam imperfections have smaller impact on generated photons
Favorable bunching efficiency at high harmonics
EEHG is promising candidate for seeding at significantly higher harmonics

## Slide 14: Additional Material

## Slide 15: The FLASH Seeding Collaboration and Expertise
Bringing different fields together: from R&D to photon science
M ARD
Groups Aßmann
Schlarb
FLASH
Groups Wurth (FS) Schreiber (M)
University Hamburg
Group Hillert (Rossbach)
TU
Dortmund
University Group Khan
FS Laser
Group Hartl
FS Photon Science
Group Laarmann
University Hamburg
Group Drescher
Laser Science
Photon Science
Experiments
Accelerator
Science

## Slide 16: Generation and Analysis of Seeded FEL Pulses at sFLASH
TDS
radiator
chicane
modulator
Extraction from electron bunches with RF deflector
sFLASH
Electron beam energy | 685 MeV
Peak current | 0.62 kA
Seed laser wavelength | 267 nm
Demonstrated for SASE FELs at LCLS (DESY as co-author): C. Behrens, et al., Nat. Commun. 5, 4762 (2014)
seeded area
T. Plath, et al., Sci. Rep. 7, 2431 (2017)
sFLASH: first achieved for seeded FEL

## Slide 17: Generation and Analysis of Seeded FEL Pulses at sFLASH
Extraction from electron bunches with RF deflector
Unique hardware configuration (TDS setup at the exit of seeded FEL) enables detailed study of the seeded FEL
time [fs]
Measured emittance and current profiles and Ming Xie formalism very nicely model lasing in different regions of electron bunch
T. Plath, et al., Sci. Rep. 7, 2431 (2017)

## Slide 18: Echo-Enabled Harmonic Generation

## Slide 19: Echo-Enabled Harmonic Generation (EEHG)
SLAC invention:
G. Stupakov, Phys. Rev. Lett. 102, 074801 (2009)
Echo-enabled harmonic generation (EEHG):
Seeding adds less energy spread to electron beam
Electron beam imperfections have smaller impact on generated photons
Favorable bunching efficiency at high harmonics
EEHG is promising candidate for seeding at significantly higher harmonics

## Slide 20: sFLASH Seed Source System (May 2017)
THG: third harmonic generation seed source
TFP=thin-film polarizer
To tunnel
Two seed sources:
THG1 acts on modulator 2
THG2 acts on modulator 1
Relative timing

## Slide 21: Scan of Relative Timing of Seed 1 and Seed 2 (May 2017)
Delay stage (mm)
-1
+1
Relative timing seed1-seed2 (ps)
FWHM ~ 500 fs
Spectrometer signal 12th harmonic [arb. u.]
Photons generated in CHG process, analyzed with photon energy detector and spectrometer
Repeated scan of relative seed pulse timing for three positions in the electron bunch: (-0.2/0.0/+0.2) ps
Strongest signal when both seed sources are on and are overlapping on the bunch

## Slide 22: Seed On/Off Test
S1 on
S2 on
S1 on
S2 off
S1 off
S2 off
S1 on
S2 on
S1 off
S2 on

## Slide 23: Nov 2017: Both Seed Laser Pulses on the Bunch
Seed laser pulses have orthogonal polarization
  Pulse 1 interacts with bunch in 1st modulator
  Pulse 2 interacts with bunch in 2nd modulator
Independent control in timing, modulation amplitude
  Global timing of seed laser pulses w.r.t. electron bunch controlled by vector modulator or OXC
  Delay stage controls relative timing of the two seed pulses
Data: 20171117T123144

## Slide 24: Vacuum Issue in sFLASH Laser Injection Beamline
machine vacuum
p<10-5 mbar
vacuum window
Multi-day sFLASH run together with FLASHforward (09.11.2017, 07:00 – 14.11.2017, 07:00)
  FLASH LINAC shared between both experiments, “RF steps” enable independent control of compression
  Efficient use of machine time
Integrated UV pulse energy impinging optical components (mirrors, windows) was multiple times that of normal runs
Inspection after the experiment revealed black coating of optical components

## Slide 25: Vacuum Issue in sFLASH Laser Injection Beamline
In Winter 2017 shutdown: Disassembled, cleaned, and reassembled complete sFLASH laser vacuum system
  Only vacuum window to machine vacuum and last mirror in machine vacuum could not be replaced
  Requested exchange for upcoming Summer 2018 shutdown
Cleaning significantly reduced hydrocarbon peaks in vacuum spectrum
March 28, 2018: first laser-electron interaction after shutdown
machine vacuum
p<10-5 mbar
vacuum window

## Slide 26: sFLASH Plans

## Slide 27: Upgrade Plans for 1st sFLASH Chicane
Current 1st sFLASH chicane is limited by vacuum chamber (R56<700µm) => Upgrade is being designed (4mm at 700MeV)
Magnets with increased 1st field integral
Rectangular vacuum chamber

## Slide 28: Upgrade Plans for 1st sFLASH Chicane
Current 1st sFLASH chicane is limited by vacuum chamber (R56<700µm) => Upgrade is being designed (4mm at 700MeV)
Magnets with increased 1st field integral
Rectangular vacuum chamber
EEHG at the 10th harmonic

## Slide 29: FLASH2020+ Seeding Plans
Started conceptual design process of seeded FEL beamline for FLASH1 as part of FLASH2020+ upgrade plans:
100-kHz+ seeding of 90 nm-4 nm wavelength range from 2024 on
  Wavelength of seeded FEL continuously tunable
  HGHG seeding for long-wavelength range
  Short wavelengths: EEHG seeding
Aiming at radiator design supporting SASE operation at full repetition rate of machine with var. polarization
Knowledge transfer from FLASH2 seeding conceptual design (HGHG down to 19nm) to FLASH2020+ seeding design
(from F2 Seeding CDR)