## Slide 1: Low-Intensity Beam Measurement Based on Low-Temperature Superconductors
4. MT Meeting 12-June-2018 Berlin V. Tympel (Helmholtz Institute Jena)
Cryogenic
Current
Comparator
Price:3 orders up
Current: 9 orders down
Nano- amperes
DC - MHz
ibeam(t)
B(t)
Current clamp

## Slide 2: Low-Intensity Beam Measurement Based on Low-Temperature Superconductors
4. MT Meeting 12-June-2018 Berlin V. Tympel (Helmholtz Institute Jena)
Cryogenic
Current
Comparator
Nb-CCC before
final closing
ibeam(t)
B(t)
LT-SQUID
Superconducting quantum
interference device
superconducting
DC-transformer
Nb-pickup coil
superconducting
Shielding
Nb-meander
uSQUID(t)

## Slide 3: Low-Intensity Beam Measurement Based on Low-Temperature Superconductors
4. MT Meeting 12-June-2018 Berlin V. Tympel (Helmholtz Institute Jena)
CCC-
Evolution
CCC-Prototype @ GSI 1996
CCC @ Bessy 2010
CCC @ CERN AD 2015
CCC-XD
for
FAIR
2017
250 mm

## Slide 4: Thank you for your attention.
CCC Meeting 06.06.2018 Darmstadt V. Tympel (Helmholtz Institute Jena)
Low-Intensity Beam Measurement Based on Low-Temperature Superconductors
Squid it !