## Slide 1
Statusbericht DTS
Marc Weber

## Slide 2: Auslieferung des ersten 1M-AGIPD
Der 1M-AGIPD-Detektors am European XFEL
European XFEL ist seit Herbst 2017 in Nutzerbetrieb
AGIPD ist vollständig funktionsfähig
1 Million Pixeln
Einzelphotonenempfindlichkeit
Dynamischer Bereich von 104 Photonen pro Pixel
Bildfrequenz von 4,5 MHz
 schnellster großflächige Röntgendetektor

## Slide 3: Percival – Nachweis weicher Röntgenstrahlung
Einsatz für FLASH, PETRA und andere Röntgenlichtquellen
2 Millionen Pixel
jeweils 27 x 27 µm2
bildgebende Sensorfläche 4 x 4 cm2
Erste Messungen mit weicher Röntgenstrahlung für ca. Mitte 2018 geplant
Ein mit der Röntgenkamera Percival P2M aufgenommenes Kalibrationsbild

## Slide 4: Digitaler Siliziumphotomultiplier
Erster Prototyp eines digitalen SiPM Moduls mit 16 x 16 Pixeln
Zusammenarbeit mit Halbleiterlabor München
Erster vollständiger Prototyp
Jede SiPM-Diode digital auslesbar. Dadurch hohe Ortsauflösung und vereinfachte Signalverarbeitung
Zeitinformation mit Auflösung von 77 ps
Dunkelrate bei Raumtemperatur

## Slide 5: New sensor technology and front-end ASICs
  Gotthard-HR-10MHz ASIC - UMC 110 nm technology
1024 pixel @ pitch 45 µm
1024 pixel @ pitch 25 µm
512 pixel @ pitch 25 µm
IEKP diode
512 pixel @ pitch 45 µm
2048 pixel @ pitch 25 µm
Adaptive frame rate over 10 Mfps @ full occupancy
Noise of ~ 300 e- (ENC) @ maximum frame rate
  KALYPSO sensor wafer
Array size: 512, 1024 and 2048 channels
Channel pitch: 25 and 45 µm
Anti-reflecting coating layers, optimized:
  Near – InfraRed (1050 nm)
  Near – UltraViolet (350 nm)
  Visible-light (400-850 nm)
  KALYPSO front-end ASICs

## Slide 6: Impact
Close collaboration between ARD and DTS centered at KIT
SLS
World-leading tool for beam diagnostics, both detectors systems have been exported successfully to other accelerator facilities:
KAPTURE and KALYPSO are fundamental for understanding the beam dynamics of ultra-short bunches
Modern beam diagnostics relies on: custom ASIC design, high-frequency technologies, custom superconducting or semiconductor design and fabrication, high-density interconnect technologies, high-throughput DAQ and more
DESY Hamburg / Eu-XFEL
TU Dortmund / DELTA
HZDR Dresden / ELBE
HZB Berlin / BESSY II - VSR
DESY Hamburg / FLASH
SOLEIL-Sync. (Paris)
PSI / Swiss Light Source

## Slide 7: Time line of chip submissions (KIT-ADL)
Switcher
Photon
DCD
MuPix8

## Slide 8: ASICs for Belle II
Belle II – a large particle physics experiment in Tsukuba/Japan
Readout ICs for Belle II pixel detector module are developed by KIT-ADL
Novel circuits, ~500 ASICs produced, tested and delivered
Detector assembly ongoing
Control ASIC: fast high-voltage drivers
5 mm
Readout ASIC:
256 radiation-hard ADCs

## Slide 9: Terabits/seconds… We build the entire system
Modulator driver
Laser source
Laser drivers
DFB lasers
WDM combiner
Control electronics
Optical receiver
Receiver modules
Photonic chip
Optical simulation
Process development
Chip fabrication
Packaging
Mechanical housing
Electrical simulation
RF circuit design
Control electronics
Firmware development
System development
Chip layout
Characterization
Assembly
Electrical simulation
WDM splitter
Electrical packaging
Photonic packaging

## Slide 10: Silicon Photonic Chips
2.4 ´ 4.9 mm²
10 ´ 10 mm²
9.3 ´ 9.3 mm²
2013
2015
2018
Started from scratch
Photonic chip design challenging: no comprehensive tools, no standard processes
Many functional designs
Innovative and world-best features
Compact WDM systems

## Slide 11: Silicon Photonic Chips
2.4 ´ 4.9 mm²
10 ´ 10 mm²
9.3 ´ 9.3 mm²
2013
2015
2018
Highest measured radiation hardness of pn-modulators
Fast modulators
Excellent (de-)multiplexers
Chip arrived in February 2018
Nickel fragments at
X-ray at KIT

## Slide 12: Status…
40 Gb/s demonstrator near completion
Concept allows scaling to 5 Tb/s
KIT ideal environment
Competences in all required fields
We build the entire system
Photon science
Collaborations:

## Slide 13: … and Vision
Downlinks with monolithically integrated Ge-photodiodes
Dynamically reconfigurable Rx and Tx channels (patent pending)
Higher modulation formats for higher data rate
Monolithic integration of sensors, ASICs, photonics

## Slide 14: Superconducting sensors
Superconducting sensors
  Transition Edge Sensors (TES)
  Kinetic Inductance Detectors (KID)
  Bolometer
  Metallic Magnetic Calorimeters (MMC)
Application fields
  Atomic / molecular physics
  Metrology
  Nuclear Physics
  Particle Physics  neutrino mass determination
The Electron Capture 163Holmium experiment ECHo[1] will measure the electron neutrino mass by analyzing the energy spectrum in the electron capture process of 163Ho.
[1] Gastaldo et.al., Eur. Phys. J. Special Topics 226, 1623–1694 (2017)

## Slide 15: Parallel vs. frequency-multiplexed readout
#channel * 10 wires
frequency comb
response
Parallel readout
Frequency division
multiplexed readout
out
in
out
in
~10 wires / channel = ~60000 wires for ECHo
2 wires / 400 channel =
~30 wires for ECHo
Cryostat
MMC Pixel
T=20 mK
2 wires (4-8 GHz, 1 channel every 10 MHz)

## Slide 16: MMCs: Conclusion
Superconducting sensors such as MMCs require highly specialized readout electronics
Proof-of-concept after only 1.5 years
RU5 will deliver readout electronics for ECHo until 2021
Vision: RU5 strives to provide world-leading MMC readout electronics

## Slide 17: Scientific challenges at keV energies
High rates
Ultimate energy
resolution
Mega
pixels
Low noise
High dynamic range
Low-energy radiation
Low rates
Good time
resolution
Molecular dynamics
~ keV electrons
Dark Matter searches
eV photons
Perfect match to strategy of MATTER
Neutrino mass
keV X-rays and electrons
Imaging bio-systems
Soft X-rays

## Slide 18: Distributed Detector Lab (DDL)
Distributed infrastructure, competence center and hothouse of technology
We will push for the installation of DDL in Helmholtz
Partners from universities, Leibniz, MPG and PTB
DDL will provide key technologies to MATTER and university partners
HSS is crucial first stepping stone to DDL

## Slide 19: Nächste Schritte DDL
Diskussion der großen Linie mit H. Dosch
Konkretisierung der Inhalte und Infrastrukturen (wesentliche Aspekte wie das Post-processing von Halbleitersensoren und die Supraleitenden Detektoren sind schon sehr weit)
Ausarbeitung eines Antrags

## Slide 20
Sensors, ASICs and Interconnects
Data Transmission and Processing
Detector Systems
Sensors
Readout Electronics
Terabit/s Optical Data Transmission
HGF-Cube
Interconnect, Packaging and Innovative Materials
Intelligent Programmable Electronics
Parallel Processing
Fast Photon and X-ray Detectors
Fast Timing Detector Systems
CMOS Sensor Systems
Compact Gaseous Detectors
Fast Timing Detector Systems
Pioneering HVCMOS Sensors
Optical data transmission beyond LHC
Readout and production of superconducting sensors

## Slide 21: POF IV
ST1 Sensors and ASICs (H. Graafsma) |  | 
Semiconductors | (high-Z, radiation-hardness of Si, avalanche diodes, diamond) | DESY, GSI, KIT
Cryogenic sensors | (bolometric and thin-film high-temperature superconductors) | KIT
Integrated electrical and optical circuits | (and monolithic sensors) | DESY, GSI, KIT
Interconnects, Packaging and Innovative Materials |  | DESY, GSI, KIT
ST2 From sensors to systems (A. Kopmann) |  | 
Tbit/s Optical Data Transmission |  | KIT
Advanced multiplexing techniques | (for fast, energy-resolving detectors, examples are GHz MMC readout, multi-channel THz cameras, Tristan readout) | KIT
Massively parallel heterogeneous digital systems |  | DESY, GSI, KIT
ST3 Demonstrator systems (C. Schmidt) The systems included should evolve with time and be updated at least twice during PoF IV. We will establish several systems with joint contributions by several centers. |  | 
Photon Science | (optical data transmission, XFEL-upgrades) | DESY, KIT?
Astroparticle physics | (Neutrino masses, Dark Matter) | DESY, KIT
Beam diagnostics | (Kalypso, diamond detectors) | DESY?, GSI?, KIT
Particle physics, hadrons and nuclei | (Track triggering, pixel sensors for vertexing and calorimetry, gaseous detectors) | DESY, GSI, KIT

## Slide 22: Nächste Schritte: DTS Struktur
Abfrage bei den Zentren, wer sich in welchem Subthema und Arbeitspaket engagiert
Welche Proekte werden für die Demonstratorsysteme vorgeschlagen
Welche Personen stehen als Koordinatoren zur Verfügung
Optimierung der Namen der STs und Workpackages