## Slide 1: How does the Pandora respond to the XFEL radiation
Author
Albrecht Leuschner, DESY, D3

## Slide 2: PANDORA
Wikipedia:
In Greek mythology, Pandora (from Greek: Πανδώρα, "giver of all, all-endowed"[1]) was the first woman.[2] As Hesiod related it, each god helped create her by giving her unique gifts. Zeus ordered Hephaestus to mould her out of Earth (Γαîα – Gaia) as part of the punishment of mankind for Prometheus' theft of the secret of fire, and all the gods joined in offering this "beautiful evil" seductive gifts. Her other name, inscribed against her figure on a white-ground kylix in the British Museum (illustration, right), is Anesidora, "she who sends up gifts."[3] According to the myth, Pandora opened a jar (pithos) in modern accounts referred to as "Pandora's box", releasing all the evils of mankind— although the particular evils are not specified in detail — leaving only Hope inside once she had closed it again.[4] She might have opened the jar out of simple curiosity and not as a malicious act.[5]

## Slide 3: PANDORA
Dose-Measurement of Photons- and Neutrons in continuous and pulsed fields.
Monitoring via Ethernet.
Interlock-Functionality by 2 Relays.
Photon And Neutron Dose Rate meter
for Accelerators

## Slide 4: Short Term History
Radiation
Bursts
Neutrons
Photons
2001 First tests of a plastic scintillator in pulsed fields
2007 Design of the Pandora for PETRA III
2018 more than 100 devices in use at DESY

## Slide 5: LB 6419
Plastik - Scintillator
in a 1 cm PE cover
3He - Counter
rem – counter type
(moderator: polyethylene)
Electronics- Box
Power supplies
FADCRMON board (SIS)

## Slide 6: PANDORAS at DESY

## Slide 7: Basics: Beam interaction with matter
Elastic scattering
Inelastic scattering
Nuclear photo effect
-isotropic neutron emission
Bremsstrahlung effect
-forward emission (1/γ)
Pair production
-forward emission (1/γ)

## Slide 8: Basics: Electromagnetic cascade (in copper)
Energy
10 GeV
1 GeV
100 MeV
10 MeV
1 MeV
100 keV
10 keV
Pair production threshold: 2 electron masses
Elastic scattering
Ionization
dE/dx
Critical energy

## Slide 9: Basics: Electromagnetic cascade (in copper)
Energy
10 GeV
1 GeV
100 MeV
10 MeV
1 MeV
100 keV
10 keV
dE/dx
Neutron production threshold

## Slide 10: Basics: Electromagnetic cascade (in copper)
Energy
10 GeV
1 GeV
100 MeV
10 MeV
1 MeV
100 keV
10 keV
Pair production threshold: 2 electron masses
Elastic scattering
Ionization
dE/dx
Critical energy
Neutron production threshold
Response of the scintillator due to ionization
Response of the 3He-counter due to neutrons

## Slide 11: Basics: Electromagnetic cascade (in copper)
Energy
10 GeV
1 GeV
100 MeV
10 MeV
1 MeV
100 keV
10 keV
Pair production threshold: 2 electron masses
Elastic scattering
Ionization
dE/dx
Critical energy
Neutron production threshold
Response of the scintillator due to ionization
Response of the 3He-counter due to neutrons
Synchrotron radiation
Beam loss:
Scintillator and neutrons
Synchrotron radiation:
Scintillator only, no neutrons

## Slide 12: SASE1
No beam:
Background
No bursts
Cosmic Muons
“muon peak” by
minimum ionizing particles
40K in concrete

## Slide 13: SASE1, cell 3
1.4 GeV, 0.28 nC
10 Hz
500 bunches
9.15 keV, 1 mJ
few bursts
trigger efficiency low
“muon peak” by
minimum ionizing particles

## Slide 14: SASE1, cell 18
1.4 GeV, 0.28 nC
10 Hz
500 bunches
9.15 keV, 1 mJ
no bursts
neutrons are required
for trigger
no
“muon peak” by
minimum ionizing particles
Synchrotron
photon pile up
within the PM
output pulse width
20 ns

## Slide 15: SASE3, cell 15
1.4 GeV, 0.28 nC
10 Hz
500 bunches
??? keV, ???mJ
no bursts
neutrons are required
for trigger
no
“muon peak” by
minimum ionizing particles
Synchrotron
photon pile up
within the PM
output pulse width
20 ns

## Slide 16: SASE1, cell 30
1.4 GeV, 0.28 nC
10 Hz
500 bunches
9.15 keV, 1 mJ
few bursts
trigger efficiency low
no
“muon peak” by
minimum ionizing particles
2 or more
synchrotron
photon pile up peaks
How does it work ?

## Slide 17: More than one Pile up peaks
Photomultiplier output on a oscilloscope
Time increments [4 ns]
ADC sample
16 ns × 30 cm/ns = 480 cm flight path difference
Where we are?
The PANDORA may sit
somewhere in between
2 point sources!

## Slide 18: Response vs number of bunches
Chart: SASE1 cell 30
| 1 | 2 | 5 | 10 | 15 | 30 | 60 | 108 | 158 | 300 | 500
photon dose rate | 1.003 | 1.99 | 4.77 | 9.6 | 14.6 | 30.5 | 63.7 | 117.5 | 175 | 297 | 532
driven by synchrotron radiation
driven by gas bremsstrahlung
Synchrotron radiation increases vacuum pressure
- To be checked.
Chart: SASE1 cell 30
| 0 | 30 | 158 | 300 | 500
Neutron dose rate | 0 | 0.66 | 1.04 | 2.42 | 9.9 | 16.11
backgroud corrected | 0 | 0.38 | 1.76 | 9.24 | 15.45

## Slide 19: Summary
Beam condition: 1.4 GeV, 0.28 nC, 10 Hz, 500 bunches, 9.15 keV, 1mJ
SASE1 cell 3: Radiation dominated by electron beam losses, very low intensities
SASE1 cell 18: Radiation dominated by synchrotron radiation, moderate intensities
SASE1 cell 30: Radiation dominated by synchrotron radiation, high intensities
SASE3 cell 15: like SASE1 cell 18
PANDORA responses were checked for saturation: non.
Response due to synchrotron radiation depends on the number of bunches, linearly.
Response due to neutron radiation do not ! Quadratic. Increase of the vacuum pressure ?