## Slide 1: Power failure 7.6.
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)

## Slide 2: Power failure 7.6.
7.6., 7:06 there was a power glitch affecting Schleswig-Holstein and Hamburg, due to an error in „Umspann-werk Nord“
Voltage dropped from 10  6-7 kV for almost 600ms

## Slide 3: Consequences
Machine was down, required restart
  L. Kersting informed colleagues
  TS checked systems in XHEXP1, XHQ etc.
Among other items:
  1 shift of SPB beamtime was lost
  Laser interlock SASE1 was affected
  SASE1 PP-Laser was switched off, needs to be restarted, and run over the night to regain thermal stability
  Few PCs were affected
  Night shift @ FXE: ???