## Slide 1: Photon Run Coordinator

## Slide 2: SPB/SFX
SPB vacuum system walkthough mid next week, all welcome, date/time to follow
Nanometer mirror tank now closed, fully connected and under vacuum. Some leak checking left to do before all the ion pumps etc. are turned on
Deployment of coordinated motion etc. requested on loop 1 as early as possible next week to allow pre-beam positioning of micron mirrors and trials with alignment laser before beam the week after (Aug 2nd)
Update of loop 5 needed for Ebara pumps (sensitive so will coordinate with AE, prob Monday morning as detector will be warm)
communication testing possible for adixen maglev turbos
work on AGIPD firmware for more patterns ongoing, more tests required
CRL and ATT motors checked to be out-of-beam. Interlock signals have been corrected and should be respected. Please do not override
still a lot of reconstruction required in the sample environment area and cabling etc. before beam

## Slide 3: FXE
new PC Layer for LPD DAQ successfully tested by ITDM at FXE
new GreatEyes background substraction implentation with CAS
IPM diode cabling fixed and diodes now biased on negative potential,
removing thus the need for a bias tee -> improved signal quality significantly
VHS motor pre check done for upcoming run.

## Slide 4: Laser
in preparation for commissioning / operation weeks in August

## Slide 5: Vacuum
SASE1 and SASE3 vacuum systems are ready to take beam

## Slide 6: Photon Diagnostics
General
  Coming weekend 20.-22.7.2018 which is without PRCs: diagnostics support for machine operation is secured thanks to J.Laksman (XFEL run coordinators are informed)
  first photon people commissioning shifts (including XPD) will start week 30
XGMs
  SASE1 XTD2 and SASE3 XTD10 XGMs are online
  Several DOOCS server updates (DESY)
  Vacuum alert system installed on all XGM microTCAs in the tunnel

## Slide 7: CAS

## Slide 8: Detectors
1st AGIPD SPB
  Firmware upgrade to 176 images per train
    Pixel reordering after firmware update successfully checked, final confirmation with X-rays needed
    Operation scenarios for dark, X-ray, pulse capacitor data have to be updated and tested
  Karabo upgraded to 2.2.4.1
    Automatic power and cooling procedure work as before, an issue with setting the number of trains appeared but was solved
    DAQ is working (still in K2.2.3)
  Follow-Up of issue related to dripping of MCLIVE signal with support from DESY
    Micro controller software for updated on Wing1 to shorten turnaround time of the MC1Live signal (humidity sensors were not working and were masked from being monitored)
    Module Q1M4 masked from the monitoring
    Signal seems stable for now, exchange of the module board can be postponed
  Plans for the next week
    check detector performance w/o X-rays after the firmware upgrade, optimize configuration
    test detector with the new C&C uTCA crate
    test external veto
  Open issues:
    Temperature increase of the housing of H1still to be investigated
    Power procedure: bug fix for “Stop LV ON”
    Bug in GUI from K2.2.4  problem with image display in Online preview  CAS works on it
LPD FXE
  Prepared for forthcoming beam time

## Slide 9: Advanced Electronics
Intensive investigations of FXE Mono
Support activities on SPB/FXE
Discussions on SPB pulse picker and the related lab test system

## Slide 10: ITDM
Metadata Catalogue upgraded (DOI, LDAP integration for support groups and instrument experts)
19 out of 27 proposals are in "Finished" state (201701, 201830). No new data can be generated for them.
8 proposals will be "Finished" Saturday morning.
New set of commissioning proposals created in cycle 201831. New proposals should be used from Saturday.
New version of DAQ exists which provides remedy for large memory consumption due to pileup effect
We would like to deploy first in tunnels, then in instruments
Review of the Run Configuration Groups and assignment to the Data Aggregators is needed