## Slide 1: Joint Operation & Readiness meeting
Report Operation / Photon Run Coordinator
Report Dispatch/PSPO
Instruments
  FXE
  SPB/SFX
  SCS
  SQS
  MID
  HED
Beam transport
  Vacuum
  X-ray optics
  Photon diagnostics
Optical lasers
Detectors
Electronics
  AE
  EETF
CAS
ITDM
SRP
Technical services
AoB

## Slide 2: Dispatch / PSPO
On Wednesday morning, unplanned updates of the MPS system in SASE1 triggered the emergency power off, causing overhead on the AE and ITDM groups. DESY MPS has been asked to improve the communication with XFEL. In particular, it was pointed out that in case invasive, unforeseen work has to be done, SRP and PSPO must be notified.
Next Read/OP Meeting on 11.01.2019
Back

## Slide 3: HED
Split-Delay line vessel returned to XHEXP1 after cleaning by Henkel. RGA next year.
2 additional racks for HED under installation (U. Brüggmann)
OPT hutch: pp-laser transport pipe installed
airlock to EXP hutch: capenter installed shelves for coats, overshoes, laser goggles etc.
EXP hutch: IC2 (second vacuum chamber) delivered and SAT passed
EXP hutch: permanent platform between wall and IC1 under construction (to access the laser beam transport and radiation shield collars.
Back