## Slide 1
LUXE experiment at the Eu-XFEL
pair spectrometer
Gianluca Sarri
School of Mathematics and Physics, Queen’s University Belfast, UK
g.sarri@qub.ac.uk
Gianluca Sarri

## Slide 2
Location
Gianluca Sarri
90 m tunnel right after the
first electron switch
Building in Osdorfer Born available
right above it, with openings for laser transport

## Slide 3
General setup
Gianluca Sarri
Electron beam: - Energy: 14 or 17.5 GeV
- DE/E: ~ 10-4 (2 MeV over 17.5 GeV)
- Number of e- : 6.2x109
- Beam size: 1 – 30 micron
- Duration: 1 – 80 fs (increases with charge)
Laser parameters:
Crossing angle: 17 degrees

## Slide 4
General setup
Gianluca Sarri

## Slide 5
General setup
Gianluca Sarri
Working with a focal spot with FWHM of 10 mm will never allow c > 1 for a 200 TW system

## Slide 6
C. Conceptual design (phot – laser)
Gianluca Sarri
Laser
Electrons
Dipole 1
1 m
Positrons
Electrons
Photons
17.5
W foil
35 mm
Collimator
0.75 m
Dipole 2
Dipole 3
Dipole 4
0.25 m
B = 2 T
0.5 mm hole
2 m
2m away from the interaction point, the 10 GeV photons will have a diameter of ~ 100 mm
d0 ~ 5 mm, 1/g (@ 10 GeV) = 50 mrad => dg (@ 2m) = 100 mm
Assuming a 10 micron laser focal spot, we get (10/100)2 ~ 1% of the photons interacting with the laser
Assuming a 4 micron laser focal spot, we get (4/100)2 ~ 0.2% of the photons interacting with the laser
Phase 0: PL=10 TW (2x1018 Wcm-2 , a0 ~ 0.7, c ~ 0.15)  No pairs. However, excellent test-bed!
Phase 1: PL=200 TW (4x1019 Wcm-2 , a0 ~ 4, c ~ 0.7)  ~ tens of pairs per shot
Phase 2: PL=1 PW (2x1020 Wcm-2 , a0 ~ 7, c ~ 1.5)  ~ hundred pairs per shot
2 m
2 m
2 m
20 m
In-plane deflection
(horizontal)
Out of plane deflection
(vertical)
Vertical offset
> 1 m
B = 2 T
B = 2 T
B = 2 T

## Slide 7
Conceptual design (e- – laser)
Gianluca Sarri
Laser
Electrons
Positrons
Electrons
Photons
17.5
Dipole 2
Dipole 3
Dipole 4
Out of plane deflection
(vertical)
2 m
If we remove the collimator, dipole 1, and the tungsten foil, we can study electron-laser collisions
In this case, we can assume the electron beam diameter to be 5 mm, so we can focus more tightly and
achieve an intensity > 1019 Wcm-2 (a0 ~ 1 – 2, c ~ 0.2)
Still hard to detect pairs, but not impossible. Anyway, we can do detailed studies of radiation reaction
and stochastic photon emission
Phase 0
Vertical offset
> 1 m

## Slide 8
Noise estimates Gemini
Gianluca Sarri
SIDE VIEW (in scale):
Main sources of noise: - secondary pairs from the converter
- effective dumping of the primary g-ray beam
- laser light
- interaction of secondaries with magnets and apertures

## Slide 9
Noise estimates Gemini
Gianluca Sarri
TOP VIEW (in scale):
Main sources of noise: - secondary pairs from the converter
- effective dumping of the primary g-ray beam
- laser light
- interaction of secondaries with magnets and apertures
Pb
Pb
Pb
Teflon
Pb collimator
Vacuum chamber wall
Dipole 1
Dipole 2
Pb
Pb
Pb
Electron beam
from LWFA
Converter
Pb
Teflon
Pb
Dipole 3
Dipole 4
Pb
Pb
Pb
Vacuum
Air
1m
20 cm
Pair detectors
Pair detectors
Gamma detectors
Positrons
Electrons
Photons

## Slide 10
Noise estimates Gemini
Gianluca Sarri
TOP VIEW (in scale):
Main sources of noise: - secondary pairs from the converter
- effective dumping of the primary g-ray beam
- laser light
- interaction of secondaries with magnets and apertures
Pb
Pb
Pb
Teflon
Pb collimator
Vacuum chamber wall
Dipole 1
Dipole 2
Pb
Pb
Pb
Electron beam
from LWFA
Converter
Pb
Teflon
Pb
Dipole 3
Dipole 4
Pb
Pb
Pb
Vacuum
Air
1m
20 cm
Pair detectors
Pair detectors
Gamma detectors
Positrons
Electrons
Photons
Laser

## Slide 11
Noise estimates Gemini
Gianluca Sarri
TOP VIEW (in scale):
Main sources of noise: - secondary pairs from the converter
- effective dumping of the primary g-ray beam
- laser light
- interaction of secondaries with magnets and apertures
Pb
Pb
Pb
Teflon
Pb collimator
Vacuum chamber wall
Dipole 1
Dipole 2
Pb
Pb
Pb
Electron beam
from LWFA
Converter
Pb
Teflon
Pb
Dipole 3
Dipole 4
Pb
Pb
Pb
Vacuum
Air
1m
20 cm
Pair detectors
Pair detectors
Gamma detectors
Positrons
Electrons
Photons
Laser

## Slide 12
Noise estimates Gemini
Gianluca Sarri
TOP VIEW (in scale):
Main sources of noise: - secondary pairs from the converter
- effective dumping of the primary g-ray beam
- laser light
- interaction of secondaries with magnets and apertures
Pb
Pb
Pb
Teflon
Pb collimator
Vacuum chamber wall
Dipole 1
Dipole 2
Pb
Pb
Pb
Electron beam
from LWFA
Converter
Pb
Teflon
Pb
Dipole 3
Dipole 4
Pb
Pb
Pb
Vacuum
Air
1m
20 cm
Pair detectors
Pair detectors
Gamma detectors
Positrons
Electrons
Photons
Laser

## Slide 13
Noise estimates Gemini
Gianluca Sarri
Electron MAP (top view)
Noise < 10-8
Noise < 10-8
Electrons from converter
Electrons from aperture
Electrons from window
Electrons from gammas
in the dump

## Slide 14
Noise estimates Gemini
Gianluca Sarri
Positron MAP (top view)
Noise < 10-8
Noise < 10-8

## Slide 15
Noise estimates Gemini
Gianluca Sarri
Photon MAP (top view)

## Slide 16
Pair spectrometer design
Gianluca Sarri
Main dipole separating electrons and positrons arising from the interaction point from the gamma rays
current setup includes a 1.8T, 1 m dipole magnet, but can be changed if more space is available
lead shielding depicted and simulated using FLUKA
The current setup assumes a 10 mrad kick from the main dipole at 10 GeV

## Slide 17
Pair spectrometer design
Gianluca Sarri
Main dipole separating electrons and positrons arising from the interaction point from the gamma rays
current setup includes a 1.8T, 1 m dipole magnet, but can be changed if more space is available
lead shielding depicted and simulated using FLUKA
The current setup assumes a 10 mrad kick from the main dipole at 10 GeV

## Slide 18
FLUKA simulations
Gianluca Sarri
TOP VIEW: photons

## Slide 19
FLUKA simulations
Gianluca Sarri
TOP VIEW: positrons

## Slide 20
FLUKA simulations
Gianluca Sarri
TOP VIEW: electrons

## Slide 21
FLUKA simulations
Gianluca Sarri
SIDE VIEW: photons

## Slide 22
FLUKA simulations
Gianluca Sarri
SIDE VIEW: positrons

## Slide 23
FLUKA simulations
Gianluca Sarri
SIDE VIEW: electrons

## Slide 24
FLUKA simulations
Gianluca Sarri
simulated signal at the detector plane
1.2 m
1.2 m
1.2 m
6 cm
Positrons
Electrons
Photons
Combined view
Current S/N ~ 10