## Slide 1
LUXE experiment at the Eu-XFEL
Monte-Carlo simulations
Gianluca Sarri and Guillermo Marrero Samarin
School of Mathematics and Physics, Queen’s University Belfast, UK
g.sarri@qub.ac.uk

## Slide 2
Setup
Gianluca Sarri

## Slide 3
Beam dump simulations
Gianluca Sarri
In this first simulation, we assess the effectiveness of the beam dump to “kill” the primary
electron beam.
Below, the simulated top-view of the photon distribution with the main elements of the
geometry highlighted.
spatial scales in cm
35 micron W
50 cm long Pb
collimator
(1mm hole)
plastic
20 cm
aluminium
30 cm
lead
150 cm

## Slide 4
Beam dump simulations
Gianluca Sarri
PHOTON TOP-VIEW
spatial scales in cm
35 micron W
50 cm long Pb
collimator
plastic
aluminium
lead

## Slide 5
Beam dump simulations
Gianluca Sarri
ELECTRON TOP-VIEW
spatial scales in cm
B-field region

## Slide 6
Beam dump simulations
Gianluca Sarri
POSITRON TOP-VIEW
spatial scales in cm
B-field region

## Slide 7
Full simulation
Gianluca Sarri
Given that the beam-dump kills the electron beam efficiently, we replace it with a total absorber
(black-hole in FLUKA) to save computation time
spatial scales in cm
PHOTON TOP-VIEW
Ideal Absorbers (Blackhole)

## Slide 8
Full simulation
Gianluca Sarri
Given that the beam-dump kills the electron beam efficiently, we replace it with a total absorber
(black-hole in FLUKA) to save computation time
spatial scales in cm
ELECTRON TOP-VIEW
Ideal Absorbers, Blackhole
Source of noise from gammas in the region of
10-5 x primary
It can be avoided by
using a double-collimator after the W target, instead of a single one
B-field region

## Slide 9
Full simulation
Gianluca Sarri
Given that the beam-dump kills the electron beam efficiently, we replace it with a total absorber
(black-hole in FLUKA) to save computation time
spatial scales in cm
POSITRON TOP-VIEW
Ideal Absorbers, Blackhole
Source of noise from gammas in the region of
10-5 x primary
It can be avoided by
using a double-collimator after the W target, instead of a single one
B-field region

## Slide 10
Particle distribution at the beam-dump
Gianluca Sarri
main gamma-ray beam
Electrons that can be
measured as a “control” diagnostic
TRANSVERSE (X-Y) VIEW
low positron signal
(masked by the photon noise)

## Slide 11
Particle distribution at the detection point
Gianluca Sarri
PHOTON DISTRIBUTION
Here we show the particles arriving at the detector
plane with the laser off (noise)
main gamma-ray beam
(feeding into the pair spectrometer)
TRANSVERSE (X-Y) VIEW

## Slide 12
Particle distribution at the detection point
Gianluca Sarri
ELECTRON DISTRIBUTION
Here we show the particles arriving at the detector
plane with the laser off (noise)
noise on the order of 10-4. Could be avoided by using a double collimator
TRANSVERSE (X-Y) VIEW

## Slide 13
Particle distribution at the detection point
Gianluca Sarri
POSITRON DISTRIBUTION
Here we show the particles arriving at the detector
plane with the laser off (noise)
noise on the order of 10-4. Could be avoided by using a double collimator
TRANSVERSE (X-Y) VIEW

## Slide 14
Spectrum of the particles arriving at the detector
Gianluca Sarri
energy (GeV)
Electron and positron “noise particles” have energies in the GeV range so it should be easy to distinguish them from the “signal particles” from the interaction of the gammas with the laser
Spectrum of the gamma-rays entering the pair spectrometer

## Slide 15
Pair spectrometer design
Gianluca Sarri
Main dipole separating electrons and positrons arising from the interaction point from the gamma rays
current setup includes a 1.8T, 1 m dipole magnet, but can be changed if more space is available
lead shielding depicted and simulated using FLUKA
The current setup assumes a 10 mrad kick from the main dipole at 10 GeV

## Slide 16
Pair spectrometer design
Gianluca Sarri
Main dipole separating electrons and positrons arising from the interaction point from the gamma rays
current setup includes a 1.8T, 1 m dipole magnet, but can be changed if more space is available
lead shielding depicted and simulated using FLUKA
The current setup assumes a 10 mrad kick from the main dipole at 10 GeV

## Slide 17
FLUKA simulations
Gianluca Sarri
TOP VIEW: photons

## Slide 18
FLUKA simulations
Gianluca Sarri
TOP VIEW: positrons

## Slide 19
FLUKA simulations
Gianluca Sarri
TOP VIEW: electrons

## Slide 20
FLUKA simulations
Gianluca Sarri
SIDE VIEW: photons

## Slide 21
FLUKA simulations
Gianluca Sarri
SIDE VIEW: positrons

## Slide 22
FLUKA simulations
Gianluca Sarri
SIDE VIEW: electrons

## Slide 23
FLUKA simulations
Gianluca Sarri
simulated signal at the detector (X-Y) plane
1.2 m
1.2 m
1.2 m
6 cm
Positrons
Electrons
Photons
Combined view
Current S/N ~ 10