## Slide 1: Characterization of complex ultrashort laser pulses for single shot THz diagnostic
Gnezdovskaia Nelli,
Lomonosov Moscow State University, Russia
Superviser: Rui Pan
September 5, 2019

## Slide 2: Outline
Single shot THz diagnostic
FROG
Single shot FROG – GRENOUILLE
Simulations and experimental results
Conclusions
BL1
BL2
PG2
PG1
Raman
spectrometer
Optical
laser
beamlines
FEL
THz
Gas-filed attenuator
FEL mirror
chambers
THz beamline
Optical
laser
system
THz
Diagnostic
Hutch
fs laser
system
THz delay
line
BL3
FLASH 1

## Slide 3
THz Radiation at FLASH 1
THz range: 10 – 0.3 THz or 30 – 1000 mm
1 THz = 1012 Hz
Notes: “The term typically applies to electromagnetic radiation with frequencies between high-frequency edge of the microwave band, 300 gigahertz (3×1011 Hz), and the long-wavelength edge of far-infrared light, 3000 GHz (3×1012 Hz or 3 THz)”, Wikipedia
1mm – 10um
THz is perfect tool to excite low energy excitations in solids
As well as colective excitations
And low frequency vibrational modes, e.g in photo active bio-molecule such as retinal
+
Field emission, tunneling, bending of atomic potential

## Slide 4: THz single shot diagnostic
THz profile
Train of pulses for single shot THz diagnostic

## Slide 5
30 mm
30 mm
30 mm
Echelon mirror
Each step gives 50 fs delay between pulses
THz single shot diagnostic

## Slide 6: FROG
Frequency-Resolved Optical Gating
(Rick Trebino, 1990s)
Pulse
Delay, τ
Beam splitter
SHG crystal
Spectrometer
Camera
spectrally resolve the pulse from autocorrelator
2. retrieve the pulse by using special algorithm

## Slide 7: FROG experimental setup
Beam splitter
BBO crystal
Spectrometer
Variable delay stage
Pinhole
Parabolic mirror
SH beam

## Slide 8: Single shot FROG – GRENOUILLE
GRating-Eliminated No-nonsense Observation of Ultrafast Incident Laser Light E-fields – GRENOUILLE, which is the French word for “frog”
Top view
Side view
Cylindrical lens
Fresnel biprism
Cylindrical lenses
Camera
Thick SHG crystal
y
x

## Slide 9: Experimental setup with GRENOUILLE
Oscillator
Amplifier
OPA system
Compressor
GRENOUILLE
Echelon mirror/
mirror
1030 nm
820 nm

## Slide 10: GRENOUILLE use
Space mode – beam alignment
Time mode:
Measured FROG pattern
Retrieved FROG pattern
Autocorrelation
Temporal profile and phase
Spectral profile and phase
From a single shot!

## Slide 11: Simulations and experimental results
Ordinary mirror

## Slide 12: Simulations and experimental results
Echelon mirror

## Slide 13: Simulations and experimental results
Echelon mirror

## Slide 14: Conclusion 1
Measured train of pulses after echelon mirror with FROG and GRENOUILLE
Calculated FROG pattern is in agreement with experimental results
Echelon mirror generate multiple pulses
Echelon mirror works!

## Slide 15: Conclusion 2
GRENOUILLE
Single shot
Compact and mobility
Easy to align
Can get the result immediately
Results similar to FROG
Good replacement of FROG

## Slide 16: Thank you for attention!