## Slide 1: Florian Lütticke
Photon Monitor
Universität Bonn, Physikalisches Institut, Nußalle 12

## Slide 2
Very high low-energy photon contribution at KEK during beam optimizations
Beneficial to have a quick online check for the photon contribution

## Slide 3: Measurement Idea
Photons show mainly as low energy single pixel clusters.
Photons will be blocked by material.
Measure hit rate in different areas, Photon vs Reference for low energy single pixel clusters
  Hitrate due to photons and charged particles.
Correct for hit rate gradient by measuring the same for high energy multi pixel cluster.
  No photon contibution expected in this data set

## Slide 4: Observable (I)
Top part: How many more single pixel clusters do we see in photon area
Bottom part: How many do we expect to see more due to gradients?

## Slide 5: Issues with Observable (I)
Assumption:
  A1 has a mix of photons and electrons
  All other don’t contain Photons.
  This assumption is not completely true. A2 shows some Photons too
A1
A2
B1
B2
A1
A2
B1
B2

## Slide 6: More Observables
Photons / cm^2 / s
  Luminosity dependent
  Absolute value – directly connected to data rate and occupancy
  Luminosity independent.
  Less strong than first observable
  More resistant against photons in reference area

## Slide 7: Observables for 4 Modules
Run 3080
Photon Count
Run 2656
Run 3080
Run 3085

## Slide 8: Observables for 4 Modules
Run 3080
Photon Count

## Slide 9: Observables
 |  | Photon Count | 
Luminosity dependent | no | yes | no
Represents occupancy | no | yes | no
Photon present | Very good | good | ok
Photon number | bad | very good | good
Photons in Ref. Area | sensitive | Less sensitive | almost insensitive
Collisions vs Single Beam | very different | same | very different
 |  | Photon Count | 
Luminosity dependent | no | yes | no
Represents occupancy | no | yes | no
Photon present | Very good | good | ok
Photon number | bad | very good | good
Photons in Ref. Area | sensitive | Less sensitive | almost insensitive
Collisions vs Single Beam | very different | same | very different

## Slide 10: Outlook
Three observables for each module
Suggestion for Accelerator control room: Sum of electron/photon Rate for 3 (or all?) modules
Suggestion for an Alarm or a second PV: Sum over all Photons.

## Slide 11
A1
A2
B1
B2

## Slide 12: More Observables
Photons / cm^2 / s
  Luminosity dependent
  Absolute value – directly connected to data rate and occupancy
  Luminosity independent.
  Less strong than first observable
  More resistant against photons in reference area

## Slide 13: Test of Photon count
Run 2656
Run 3080
Run 3085

## Slide 15: Good Run

## Slide 16: Bad Run

## Slide 17: Measure Photon Rate
Observable: Photons / cm^2 / s

## Slide 18: Hit Rates