## Slide 1
ML methods for FEL data analysis
By: Alireza Sadri
DESY-CFEL/ AMALEA
26 Slides
References are given below each slide

## Slide 2
Data segmentation via clustering
Models parameters
Structures sizes
Data points
Lines with algebraic Gaussian noise
Test parameters:
Number of inliers
Number of outliers
Noise scales

## Slide 3
Data segmentation via clustering

## Slide 4
Line fitting problem in presence of noise
Data sample:
For line fitting with algebraic error values assuming data points have iid Gaussuan distributed noise, and L=2, the Total Least Squares gives MLE and can be easily achieved via SVD.
This will be one sample.
Evalutaion Function
Model fitting cost function
Image from the book: “ML from probabilistic perspective by A. Murphy

## Slide 5
Robust Segmentation by fitting to distributions
Image from the book: “ML from probabilistic perspective by A. Murphy
Estimating scale of noise:
Model goodness:

## Slide 6
Mutli-way distances (Hypergraphs)
Reducing to graph for cutting by Normalized cut

## Slide 7
Data segmentation via clustering

## Slide 8
Effect of sample size

## Slide 9
Data segmentation via clustering

## Slide 10
Markov-Chain-Monte-Carlo sampling method
Likelihood by worst residual

## Slide 11
A solution for the problem of
Image from the book: “ML from probabilistic perspective by A. Murphy
Challenge: you don’t know the size of the structure.
My PhD finale: sample from density of structure size

## Slide 12: Robust methods for deep learning: PL-Net3d
https://ieeexplore.ieee.org/stamp/stamp.jsp?arnumber=8895750

## Slide 13
That’s where I came from and now....

## Slide 14
FEL Data volume challenge
Petra Edlund,, “ Structural Features of Bacteriophytochromes“ 2018, University of Guthenburg
An example AGIPD detector at the European XFEL:
~3,500 1 Mpx (4 Mpx soon!) images per second.
Millions of images and hundreds of TB per experiment:
to solve a structure or retrieve the electron density of a particle, we need maybe thousands of good images...

## Slide 15: Data reduction chances at each stage
Data correction by calibration constants
Bad pixel mask
Pedestal correction
Gain correction
Runtime
pre-processing
Artefacts detection and segmentation
Common mode removal
https://www.ncbi.nlm.nih.gov/pmc/articles/PMC4038800/pdf/j-47-01118.pdf

## Slide 16
FEL data reduction by Machine Learning
(Literature that I’ve reviewed)
Improving data quality:
  Bad pixel mask for FEL detectors
  My current focus because of dire need
Improving other stages of analysis pipeline
  More accurate Bragg-Peak finding in Crystallography
  Faster indexing methods in Crystallography
  More accurate phasing

## Slide 17
Bad pixel mask for FEL detectors
(current task)
Must account for different types of “bad” pixels
  Permanently damaged: Hot pixels, Cold pixels ,Flickering pixels, Dead ASICs,
  Runtime artifacts: Shadows, “Chatty” panels, streaks, too bright water rings
Previous works include Streak finder by Yaroslav Gevorkov in CFEL
  Yaroslav Gevorkov, “Real-time image analysis and data compression in high throughput X-ray diffraction experiments”
CsPad

## Slide 18
Bad pixel detection solutions (current task)
Modern robust statistical analysis (to improve previous works)
Segmentation using DNNs
Anomaly detection using DNNs (VAEs or GANs)
  Bad pixels
  Bad diffraction patterns
  Yaroslav Gevorkov, “Real-time image analysis and data compression in high throughput X-ray diffraction experiments”

## Slide 19
Segmentation using DNNs
Pattern segmentation methods
  Seg-Net, U, V, Y, W-Nets, FCN, Deeplab3+, pix2pix, cycleGAN…
  FastFCN
https://arxiv.org/abs/1903.11816

## Slide 20
Adversarially Learned Anomaly Detection
https://arxiv.org/abs/1812.02288

## Slide 21
Bragg Peak Finding in Crystallography
Bragg peaks are hard to find (noise, artifacts, outliers)
There are many methods
https://www.ncbi.nlm.nih.gov/pmc/articles/PMC4038800/pdf/j-47-01118.pdf

## Slide 22
Bragg-Peaks finding algorithm for crystallography
http://scripts.iucr.org/cgi-bin/paper?S1600576717014340

## Slide 23
BraggNet: integrating Bragg peaks using neural networks
Transposed convolution
convolution
Based on U-Net
https://onlinelibrary.wiley.com/doi/abs/10.1107/S1600576719008665

## Slide 24: Insightful classification of crystal structures using deep learning
https://www.nature.com/articles/s41467-018-05169-6

## Slide 25: Real-time coherent difraction inversion using deep generative networks
https://www.nature.com/articles/s41598-018-34525-1.pdf

## Slide 26
In conclusion
What is the vision?
  To deliver generic methods to improve data analysis and allow for heavier vetoing of uninformative data in FEL data analysis pipelines
Where is the potential?
  Improving each stage of the analysis pipeline using modern ML methods
Where are the challenges?
  Generalization of ML methods to new datasets
  Adaptation of delivered softwares in current frameworks
Many thanks goes to DESY, CFEL and AMALEA for this opportunity.

## Slide 27
Review a few GANs (all slides are copies)
https://www.slideshare.net/JunhoCho1/image-translation-with-gan
https://arxiv.org/pdf/1611.07004.pdf
http://digital-thinking.de/watchgan-using-generative-adversarial-networks-for-artificial-generated-watch-art/

## Slide 28
Mapping digits to a 3D space, conditional GAN

## Slide 29
BiGAN: feature representation using GANs
https://arxiv.org/pdf/1605.09782.pdf
In VAE, the output of Encoder goes directly to decoder

## Slide 30
Pix2pix (all slides are copies)
https://www.slideshare.net/JunhoCho1/image-translation-with-gan
https://arxiv.org/pdf/1611.07004.pdf

## Slide 31
Reconstruction loss
https://arxiv.org/pdf/1703.05192.pdf

## Slide 32
https://arxiv.org/pdf/1611.07004.pdf

## Slide 33
More loss functions: discriminative and images differentes
https://arxiv.org/pdf/1611.07004.pdf

## Slide 34
CycleGAN/DiscoGAN
https://arxiv.org/pdf/1703.05192.pdf

## Slide 35
Less labeling: Translation from one group to another
https://arxiv.org/pdf/1703.10593.pdf

## Slide 36
https://arxiv.org/pdf/1703.10593.pdf

## Slide 37
https://arxiv.org/pdf/1809.07294.pdf

## Slide 40
Geometry correction
Integration and Merging
Data Collection
Serial Crystallography data analysis pipeline
Data Correction
Bad pixel masking
Phasing
and structure definition
Bragg-peak finding
Indexing

## Slide 41: Classification of crystal structure using a convolutional neural network
http://journals.iucr.org/m/issues/2017/04/00/fc5018/index.html

## Slide 42
VAEs for improved reconstruction and anomaly detection
https://arxiv.org/pdf/1906.00446.pdf
https://arxiv.org/pdf/1911.12161.pdf

## Slide 43
A survey on the use of Machine Learning in analysis of crystallographic diffraction patterns
https://www.ncbi.nlm.nih.gov/pubmed/29714177

## Slide 44
A survey on the use of Machine Learning in analysis of crystallographic diffraction patterns
https://arxiv.org/abs/1904.11834

## Slide 45
Markov-Chain-Monte-Carlo method sampling from model distribution
Notes: MAYBE WE DON’t NEED THIS SLIDE