## Slide 1: XUV-Photon Arrival Diagnostics: status and plans
Stefan Düsterer
For the arrival time team: Ch. Gerth, B. Manschwetus, J. Müller, S. Schulz, K. Tiedtke, S. Toleikis, …
And the THz streaking team: I. Bermudez, R. Ivanov, …
Mini-Workshop on Synchronization for FLASH2020+, 25.6.2020

## Slide 2: Outline
  Different methods
    THz streaking
    “Plasma switch”
    others
  Limits
  Plans for next steps
  Future Ideas
XUV arrival time measurements

## Slide 3: THz streaking setup
At FL21
Optically synched Oscillator
(1030 nm Origami)
10 Hz Regenerative amplifier
4 mJ, ~ 1ps
( >>100 m amplification path)
THz production
XUV
THz
Electron TOF
spectrometer
Gas jet
photoelectron
sample
Soft X-ray
Single-cycle
THz pulse
R. Ivanov, et al. J. Synchrotron Rad. 25, 26-31 (2018)
R. Ivanov, et al. J. Phys. B, accepted (2020)

## Slide 4: THz Streaking principle
  Single pulse resolved measurement
  Scalable to high repetition rates (~100 kHz)
  (almost) non-invasive
  online monitoring
Photoelectron
spectrum
Streaking trace
time
XUV pulse
Ekin
Nat. Photonics 3, 523 (2009), Nat. Photonics 6, 852 (2012)

## Slide 5: THz Streaking - observables
Streaking raw data
(delay scan)
Laser delay
TOF trace
-1.5ps 0 ps 1.5ps
Arrival
time
Single shot XUV pulse duration

## Slide 6: THz streaking: Arrival time measurements
Measuring electron bunch arrival time 200 m away from the experiment
Comparing to streaking laser vs XUV pulse
Correlation width < 30 fs FWHM !

## Slide 7: THz-streaking: Uncertainties / Limits
Short term
  Fitting error: ~ 1-2 fs
  Wavelength fluctuations: ~2-4 fs
Long term (minutes)
  Drifts in the laser amplifier ~ 100 fs
In general: calibration of the streaking ~ 10% ??
-> Measure reference spectrum
-> cross correlator
will be quite challenging for > 1 ps pulses 
-> get more experience with setup …
Slow drifts:
Frequency components

## Slide 8: Plasma switch scheme
Shadowgraphy technique where we optically image (e.g. 800 nm) a high free electron density created by an intense XUV/X-ray FEL pulse
Used at FLASH [1-4] and extended at LCLS to 8 keV [5]
Development of an FEL pulse arrival tool
[1] C. Gahl, et al., Nature Photonics 2, 165 (2008)
[2] T. Maltezopoulos, et al. New J. Phys. 10, 033026 (2008).
More papers at : https://confluence.desy.de/display/FLASHUSER/FLASH+beamlines+and+instruments+references
Laser @ 800 nm, 40 fs
(probe)
CCD
Plasma shadow
FEL @ 8 keV, 40 fs
(pump)
Glass target
“spatial encoding”
“spectral encoding”
[3] M. Harmand et al., JINST 7, P08007 (2012) [4] R. Riedel et al., Nature Comm. 4, 1731 (2013)
[5] M. Harmand et al., Nature Phot. 7, 215 (2013)

## Slide 9: XUV-PUMA Setup
FEL
Probe Laser
Reflection
Transmission

## Slide 10: Plasma switch: first results at FLASH2
Preliminary data analysis from the April 2019 in-house experiment (11005874) at FL24
Run #28365 – drifting FEL!?
Calibration target
P. Finetti et al. PRX 7, 021043 (2017)
FEL wavelength: 26.2 nm NOPA: 630 nm, 32.7 fs
Pulse duration: 74.9 fs
Jitter: 2.2 fs (rms)

## Slide 11: New plasma switch approach @ LCLS
Interferometric approach
Needed much lower X-ray intensity !!
5-10 times improvement in sensitivity (20 and 230 μJ/cm2 (at 500 eV) works)
CLEO 2019 / SF3I.7.

## Slide 12: Other methods
Sidebands as quality monitor -> can only be used to get an idea how good the synch is (no sorting possible)
Balanced detection of sidebands (proposal for FL26) -> very challenging realization
“Optical afterburner @ THz undulator” – using optical part that coincides with XUV SASE -> so far only preliminary results
As far as we know …

## Slide 13: Comparison of methods
THz streaking
+ time resolution of few fs (< 5fs)
+ works for essentially all XUV wavelength (~ 30 eV to x-rays)
+ needs only ~ 1 µJ XUV
+ detection (TOF) works for 100 kHz (possibly even MHz)
+ delivers pulse duration (actually main task of the setup)
- Needs ~ 1 mJ optical pulse energy -> not feasible with Pump-probe laser (Using part of the OPCPA pump ???)
- needs XUV focus (part of the XUV beam has to be scraped of – tested at FL21)
- not easy to scale THz production to 100 kHz (or even 1 MHz …)
Plasma switch
+ time resolution of few fs (<< 5fs) (and delivers some idea about the pulse duration)
+ detection works at 1 MHz (shown at EXFEL: Sato et al Optica 7 (6), 716 (2020))
+ needs only few nJ of optical laser -> can be used parasitically
+ rather simple setup (compared to THz streaking)
+ well established method at LCLS
- target material absorbs XUV – no transparent target
- current techniques: needs lots of XUV (> 50 µJ) AND focus -> refocusing of XUV beam after transparent experiment
- current techniques: has to work close to damage threshold in the XUV (x-ray is much more relaxed)
Other methods
- no experience

## Slide 14
Relative fluctuations of the CoM of the arrival time
σar = std( TXUV-TBAM)
Typically still factor 5 from limit …
but for optimized cases already remarkably close
Bermudez et al, in preparation / Simulations by M. Yurkov
Oct 2019:
Τph =50 fs rms (120 fs (FWHM))
σph =17 fs rms
Arrival time: Theoretical limits
SASE induced arrival time fluctuations

## Slide 15: Plans for next steps
Finding critical components
  Cross-correlation between PP laser (FL2) and optical master oscillator
    -> Noras talk
    Identify Pump-probe laser induced jitter / drifts
  Cross-correlation between XUV (FL2) and optical master oscillator (1550 nm – Plasma switch)
    Compare to BAM: test precision of BAM to master timing
    Test to what precision BAM could be used to sort the timing for user experiments
    Test new concepts to get away from XUV damage threshold
  Cross-correlation between XUV (FL2) and THz streaking laser
    THz streaking is permanent setup – frequent tests for different FEL settings
    Use for dedicated timing shifts – test different synch settings / fast feedbacks …
    Test precision BAM –XUV timing (e.g. FLASH 2 BAM …)
  Cross-correlation between XUV (FL2) and PP laser (FL2) (~ 800 nm – Plasma switch)
    Test time resolution for user experiments
    Investigate options for XUV online arrival time monitor

## Slide 16: Future ideas
Ideas / Questions for the next years
  Sorting user data with BAM (FLASH2)
    How good can we get ?
    Probably most “standard” experiments can live with this resolution
    SASE CoM fluctuations are fundamental limit
  Investigate jitter at seeded FLASH1
Possible scenario for advanced high temporal resolution experiments:
  Encourage using experiment internal reference signals (e.g. sidebands, depletion, ...)
  Direct XUV – PP laser or optical master arrival time monitor at the experimental endstation
    A setup for transparent experiments exists (XUV-PUMA) but has severe limits to the experiment
    Dedicated arrival time setup - if interferometric setup works
  Stabilize timing
  -> required by large fraction of experiments !!
XUV
Focusing
Experiment
PP Laser
Plasma
switch

## Slide 17: Summary
sub 5 fs arrival time methods are available
  Test measurements are promising
  Improving techniques and identifying critical subsystems
  Permanent implementation in end-stations is challenging
Define different scenarios and needed resources
Questions
  How good can we get with stabilization and “indirect” measurements ?
  What standard / best resolutions are demanded ?
    For SASE ?
    For seeding ?

## Slide 18: Thanks
Questions ???