## Slide 1: Gamma Beam Profiler design V(ersion)2
Maksim Skakunov (TSU), Sergej Schuwalow (DESY)
Sapphire Sensor
Support plate
(fixed)
Piezo motors
Flex Kapton cables
Patch panel
Connection plate
(movable)
Coaxial cables (Kapton ø1.2 mm)
Sensor frame
Connectors
~2-3 m
or ~30 m
to Control
room
Old Version V1,
1 sensor per station

## Slide 2
Sapphire sensors for LUXE Gamma Beam Profiler
2 sensors (1 double-station) baseline setup,
4 sensors (2 stations at different locations) – extended setup

## Slide 3
Min 2 cm
Floor
~2.5 m
Beam
X
Y
Cables to Control room
Patch-box
Station cables
Gamma Beam Profilometer
Shielding box
with thin windows
for the beam
(Kapton 5 μm)
Second
station?
+Small pitch
Si sensors
for periodic
beam control?
~1 min per week
Now 1.5 cm

## Slide 4
New sapphire sensor design

## Slide 5
Sensor support PCB design

## Slide 6
Outer size 60x60 mm2
Cutout 20x20 mm2
Thickness 1.6 mm, 4 layers
Sensor PCB
Two 100-pin connectors
for odd and even strips
HV cable (≥ 1kV)
Sensor is glued to PCB
(conductive glue for HV contact)
and wire-bonded to PCB

## Slide 7: Station design (2 sensors per station)
Beam
Flex Kapton cables (4 pcs)
Patch
panels
Coaxial
signal cables
V-strips
H-strips
dZ=15 mm

## Slide 8: Station design (2 sensors per station)

## Slide 9
Backup slides

## Slide 10
Gamma Beam Profiler Station (1 sensor per station)
Sapphire Sensor
Support plate
(fixed)
Piezo motors
Flex Kapton cables
Patch panel
Connection plate
(movable)
Coaxial cables (Kapton ø1.2 mm)
Sensor frame
Connectors
~2-3 m
or ~30 m
to Control
room

## Slide 11
Q-545.240
Drive force 7 N
Travel range 26 mm
Incremental sensor with nanometer position resolution
Maximal velocity 8 mm/s
Minimal incremental motion 6 nm
Bidirectional repeatability 200 nm
Cable length 2 m
Q-545.240
Q-Motion® Linear stage, piezoelectric inertia drive, 26 mm travel range, linear encoder, 1 nm resolution, 7 N drive force, dimensions 45 × 63 × 15 mm (W × L × H)
www.pi.ws
https://www.physikinstrumente.com
Physik Instrumente (PI)
Physik Instrumente (PI) GmbH & Co. KG
Auf der Roemerstrasse 1 76228 Karlsruhe Germany

## Slide 12
Q-545.240

## Slide 13
All connectors from
SAMTEC
Pitch 1.27 mm
100 Kapton ø1.2 mm
Coaxial cables

## Slide 14
R/O electronics (or Patch-panel 2)
Signal inputs

## Slide 15
SAMTEC micro-pitch
Patch-panel 1
For flex Kapton cables

## Slide 16
SAMTEC micro-pitch
Flexible Kapton cables