## Slide 1: Calibration with muons

## Slide 2: Cosmic muon
Rate :
  1 muon / cm2 / min
  pixel is 0.5x0.5 cm2 : 720 muon per 12 hours (one night) for 4p acceptance
Distribution in cos2(theta)
Supposition : loosing 20% of quasi vertical muons
  ~570 muon per night per pixel

## Slide 3: needs
2 scintillators below (or above) the ECAL for triggering.
These scintillators can be removed during data taking
Provide easily a NIM trigger signal
Can be connected to the TLU