## Slide 1
Operation of solid state sensors at high particle intensity
Wolfgang Lohmann

## Slide 2: Beam Monitor
CVD diomand sensor,
300 mm
Sensor in the beam-pipe vacuum
Maximal expected bunch charge: 10 nC ≈ 2x 107 particles, 1011 signal charge carrier
Electrical scheme:
Capacitors to deliver charge for signal generation

## Slide 3: Performance
Response as a function of the bunch charge
for different HV
Signal roughly 1V (50Ω)

## Slide 4: Beam Halo monitors at FLASH
Response as a function of the bunch charge CVD diamond sensor and sapphire sensor

## Slide 5: Summary
It was demonatrated the single sensors can be operated for upmto 108 paricles crossing the sensor using a dedicated electrical network
The response is not linear
Different sensor materials enhance the range for reasonable measurements