## Slide 1: GaAs with traces 15/7/21
Mainly Ibtisam

## Slide 2: GaAs with traces
We received the sensors yesterday
Visual inspection : ok
minipad
pad

## Slide 3: First IV test
For the first pads, we proceed to three way to measure :
  All the needles are on the pads (signal+ground)
  All the ground needles are on the pads and the signal needle is connected to the end of the trace
  All the needles are connected to the end of the trace
Needle on the minipad (A,1)
Needdles on Pad (A,1)
No difference in the IV results

## Slide 4
(A,1)
(C,4)
Current value @ 100V by Anton
26 degrees, 26% humidity

## Slide 5
Flex for the test beam designed. Mechanics under study
bonding
bonding