## Slide 1: ATLAS Trigger Helmholtz Alliance: Physics at the Terascale 4th Annual Workshop 1. - 3. December 2010, Dresden
Rainer Stamen
Kirchhoff-Institut für Physik
Universität Heidelberg
Commissioning and Running 2009/2010
Upgrade Projects

## Slide 2: The ATLAS Trigger and DAQ System
Hardware :
Calo and Muon
Software:
all det. RoI guided
Software:
all det. RoI and fullscan

## Slide 3: The Level-1 Calorimeter Trigger
PreProcessor
124 modules
Cluster
Processor
56 modules
Jet/Energy
32 modules
Merging
8 modules
Merging
4 modules
Digitized transverse energy
Calorimeter signals (~7200)
Hit counts and ET results to CTP
0.10.1
0.20.2
h
f
99.9% analogue channels available
digital part fully functional
e/g, t
Jets, ETmiss

## Slide 4: Synchronisation
System Synchronisation
  Cable lengths compensation
  Energy Calibration
Method
  Fit pulses (empiric function)
  Free parameters: Pulse height and position
Accuracy
   2ns (from pulser runs)

## Slide 5: Synchronisation
Application of Timing
  2009 splash events
  2010 splash events
  2010 collision data
Result
  Increase of trigger efficiency
  Increase of trigger rate
Future usage
  Can follow LHC clock phase shifts on ns level
  Will be used in monitoring

## Slide 6: Calibration
In situ calibration
  Compensate for signal attenuation in cables
Method
  Pulser system
  Calorimeter is reference
Result
  Good correlation in data
  Small offsets being corrected (pulse shape effects)

## Slide 7: Calorimeter Trigger Performance
Sharp turn-on curves
Stable operation

## Slide 8: Upgrade Projects
PreProcessor MCM
  Digitisation (FADC)
  Digital Signal Processing (ASIC)
  Stable baseline subtraction
Analogue signal behaviour
  Tile: under- and overshoot (50 ms)
  LAr: undershoot (0.4ms)
  No effect on current and near future running
Will become important at high lumi running
  Dynamic baseline subtraction very desirable

## Slide 9: Upgrade Projects
The new PPr MCM (Heidelberg)
  FPGA <-> ASIC
  Add serialiser
  Add fine synchronisation
  Packaged ADC (10 bit)
Schematics and Layout ready
FPGA code tested on development board (25% ressources used)
Additional functionality to be designed

## Slide 10: Upgrade Projects
Topology not available on Level-1
2 possible scenarios
  L1Calo internal topology
  Topology including muons
Hardware requirements
  CMM++ (merger board in every crate)
  Topolgical Processor
  Heavy data transfer

## Slide 11: Upgrade Projects
BLT: Backplane Link Tester (Mainz)
  Built in Mainz
  Tested backplane data transfer up to 160 MB/s
GOLD: Generic Optical Link Demonstrator (Mainz)
  Being developed in Mainz
  Demonstrator for a topological processor
  Various testing possibilities
    Data replication schemes
    Connectivity, Processing Power
  In Design Phase

## Slide 12: Summary
Trigger commissioning successful
The ATLAS Trigger worked very well in 2009/10
Various upgrade projects started
  PreProcessor MCM2.0
  Topological Processor
First demonstrators and prototypes will soon be available

## Slide 13: Upgrade Projects
Track Triggers
  Not available currently
Motivation
  Reduction of muon rate
  Reduction of electron rate at L2: factor 3-5
Challanges
  Data transport
  Pattern recognition
Status
  Various design studies (algorithms)
  Data transfer studies (e.g. Wireless R/O)