## Slide 1
FLASH2020+ seeding laser SLASH - Start-to-End simulation using chi3D
Tino Lang
www.chi23d.com

## Slide 2: Outlook
01 Introduction
FLASH2020+ seed laser SLASH
02 Laser system and UV conversion concept
OPCPA and cascaded chirped pulse sum frequency generation (ccSFG)
03 chi3D – Start to End simulation via chi3D
Model
Results
04 Hand-over to G5

## Slide 3: Requirements for seed laser system (SLASH)
UV Seed Laser
50 µJ / 50 W, 50 fs, 1 MHz
tunable UV pulses - 24/7
Seeding laser specification for wavelength tunable UV x-ray seeding
T
Parameter | Specifications
Tunable wavelength | 297 – 317 nm
Pulse duration | 50 fs (FWHM)
Bandwidth | Fourier limit
Pulse energy | 0.3 – 16 µJ
Burst duration/ rep. rate | 600 µs / 1 MHz
burst-burst ¦ pulse-pulse instabilities | < 4% ¦ < 2% (RMS)
Wavelength stability | 0.06 nm @ 300 nm
- beam transport - in-coupling losses
- safety margin

## Slide 4: Laser concept
Broadly tunable green pumped OPCPA based on high power Ytterbium chirped pulse laser amplifiers (CPA)
+ efficient broadband UV conversion
T
3500 W
100 W
1750 W
50 W
t
600 µs
100 ms
In-burst power
Power budget
P
CPA
OPCPA
ccSFG
Fused Silica
1 MHz, 3.5 mJ, 600 µs (10 Hz bursts)
SHG
800fs
680 - 950 nm
100 µJ
1 mJ
SFG
SFG
297 - 317 nm
50 µJ
417 - 480 nm

NOPA
WLG
300 fs 4 µJ
SHG
NOPA
NOPA
1 µJ
3 µJ
nJ
Compressor
5kW
Seeder
FE
j
400W
50 fs
> 50 % conversion efficiency
UV conversion + beam transport:
Two subsequent tunable and high efficient SFG stages
Relay imaged beam transport with simple bulk pulse compression
Laser system
Optically synchronized low noice oscillator + 5kW Yb-based laser amplifier system (NKT+Amphos)
High-power tunable optically parametric amplifier (OPCPA)
293 298 303 308 313 318 323 - corresponding UV wavelength -

## Slide 5: Simulation model
OPCPA
ccSFG
Fused Silica
1 MHz, 3.5 mJ, 600 µs (10 Hz bursts)
SHG
800fs
680 - 950 nm
100 µJ
1 mJ
SFG
SFG
297 - 317 nm
50 µJ
417 - 480 nm

NOPA
300 fs 4 µJ
SHG
NOPA
NOPA
3 µJ
nJ
Compressor
5kW
Seeder
FE
j
400W
50 fs
CPA
Modeled part of seed laser system (SLASH)
Chi3D simulations building blocks
Measured power, pointing and pulse duration & fluctuations
Measured spectrum
Start-to-End (excluding Laser amplifier)

## Slide 6: Simulation model
3+1 dimensional simulation tool for noncollinear interaction and propagating broadband and ultra-short laser pulses – chi3D
Methods
www.chi23d.com
Type I second order nonlinearity
Laser pulses in nonlinear crystal

## Slide 7: Start-to-end simulation
Fluctuation transfer study
Simulation results vs. pump laser stabilities
Input parameter variation |  | SHG (no.) | NOPA (no.) |  |  |  | SFG (no.) |  | Required UV stability
CPA short-pulse pulse energy | 1 % | (1) | (1) | (2) |  | (3) | (1) | (2) | 2 %
 |  | 1.14 % | 1.75 % | 0.8 % |  | 0.6 % | 0.5 % | 0.6 % | 
CPA 4kW pulse energy | 1 % | (2) | (2) |  | (3) |  | (1) | (2) | 
 |  | 1.24 % | 3.44 % |  | 3.48 % |  | 3.58 % | 2.66 % | 
CPA 4kW output pulse duration | 1 % | (2) | (2) |  | (3) |  | (1) | (2) | 
 |  | 0.25 % | 2.52 % |  | 2.54 % |  | 2.08 % | 0.38 % | 
OPCPA pump – seed timing | 10 fs |  | (2) |  | (3) |  | (1) | (2) | 
 |  |  | 0.03 % |  | 0.03 % |  | 0.01 % | 0.01 % | 
 |  |  | 0.46 nm |  | 0.46 nm |  | 0.15 nm | 0.08 nm | 0.06 nm (2e-4)

## Slide 8: Start-to-end simulation
Example output UV seeding pulse
3+1 dimensional simulation building blocks (chi3D)
3D pulse intensity distribution in space and time
Phase (rad)
Seed peak power and phase

## Slide 9: Start-to-end simulation
Providing electrical field for GENESIS
3+1 dimensional simulation building blocks (chi3D)
3D pulse intensity distribution in space and time
chi3D to hdf5 conversion tool
chi3D output is a 3D complex electrical field in spectral domain E(f,kx,ky)
???Faktor??? 826177384779

## Slide 10
Tino Lang
Department: FS-LA
tino.lang@desy.de
+49 40 8998-6096
We acknowledge DESY (Hamburg, Germany), a member of the Helmholtz Association HGF, for the provision of experimental facilities. Parts of this research were carried out at FLASH.

## Slide 11: Start-to-end simulation
FLASH2020 FLASH1 seeding laser – including all second-order nonlinear conversion stages
3+1 dimensional simulation building blocks (chi3D)