XFEL TVAC-Workshop								26.10.2010

Questions and Recommendations

Talk:	Ventilation and Air Conditioning concept of XFEL

Speaker: Mrs Feuker

Q:	Should we variegate the air supply temperature depending on the tunnel condition?

A:

Q:	Should we keep the supply temperature constant and install distributed local heaters in the tunnel?

A:

Q:	What are the risks of the current VAC design?

A:

Q: 	Can we achieve 21 +/- 1 °C a dedicated position at beam level?

A:

Q:	Does the cascade control scheme fit? Do we need a feed forward?

A:

Q:	Can we take the thermal constant of the tunnel walls and installations into account to reduce the temperature tolerance.

A:

Q:	Should we try to reach +/- 0.1 K at the end (beam direction) of the undulator string?

A:

Q: 	What fluctuation of the temperature is tolerable versus time?

A:

Q: 	Do we need 100 % redundancy for the whole system, air handling unit, cold water and electrical power?

A:

Q:	The air humidity is limited to 65 % in order to prevent corrosion. Can we exceed the humidity temporary during summer season?

A:

Q:	Can we start the machine installation in a cold tunnel?

A:

Q:	Should we reuse the air from one tunnel to the next against the beam direction?

A:

Q: 	Do have a suggestion for improvement?

A:

Talk:	Temperature Calculations of XTL tunnel

Speaker: Mr. Ngada

Que:	Does the model give a realistic answer of the tunnel temperature?

A:

Que:	Do we need a dynamic model to know the dynamic behaviour of the machine operation mode?

A:

Que:	Do we need CFD simulations?

A:

Que:	Should we variegate the air supply temperature depending on the tunnel condition?

A:

Que:	Should we keep the supply temperature constant and install distributed local heaters in the tunnel?

A:

Que:	Should we limit the humidity to 65 %.

A:

Q:	Can we start the machine installation in a cold tunnel?

A:

Q:	Should we reuse the air from the XTD tunnels?

A:

Q: 	Do have a suggestion for improvement?

A:

Talk:	Air Treatment Costs

Speaker: Mrs. Feuker

Que:	What are the boundaries for the choice of the tunnel supply temperature?

A:

Que:	Should we install air dryer for keeping the supply temperature low?

A:

Que:	What is the suggested supply temperature?

A:

Talk:	Air Conditioning SASE Tunnel

Speaker: Mrs. Schulz

Que:	Is the interface between the tunnel ventilation (WP-34) and the fine regulation of the temperature (WP-71) the preferred solution?

A:

Que:	Is it necessary to cool and heat the tunnel air for the fine regulation.

A:

Que:	Would a heater fulfil the requirements for the fine regulation?

A:

Talk:	Tunnel Safety Concept

Speaker: Mr. Hoppe

Que:	Guarantees the safety concept the escape of personnel?

A:

Que:	Is it possible to delete the air duct for smoke removal?

A:

General Questions

Q:	How is the general valuation of the tunnel VAC design?

A:

Que: 	Is the due point temperature a severe requirement?

A:

Q:	 How precise must be the temperature regulation of the AHU and water cooling systems? Over or under shoot, time dependence

A:

Q:	What peak deviations are tolerable?

A: