## Slide 1: dSiPM-project – DCR measurements in climate chamber
Chip 3
In climate chamber
In testbeam area
Temp. in CC
Temp. on chip
Temperature chip | DCR (kHz) | Temperature chip | DCR (kHz)
-2.5°C | 3.814 | 0°C | 4.756
2°C | 5.156 |  | 
7.1°C | 7.004 | 10°C | 10.83
12.2°C | 9.354 |  | 
17.1°C | 12.44 | 20°C | 19.097
21.8°C | 16.44 |  | 

## Slide 2: dSiPM-project – DCR measurements during test beam
Rising noisy pixels
1st measurement
2nd after 2 days
3rd after 1.5 day
Vov = 2 V